## Sequence
Replicate | Sample.name | Sample.type
Blank_procedure_RB7_01_3317 | Procedure blank | Blank
Cal_A_1_RA3_01_3342 | A1 | Calibration
Cal_A_2_RA4_01_3343 | A2 | Calibration
Cal_A_3_RA5_01_3344 | A3 | Calibration
Cal_B_1_RA6_01_3345 | B1 | Calibration
Cal_B_2_RA7_01_3346 | B2 | Calibration
Cal_B_3_RA8_01_3347 | B3 | Calibration
Cal_C_1_RB1_01_3348 | C1 | Calibration
Cal_C_2_RB2_01_3349 | C2 | Calibration
Cal_C_3_RB3_01_3350 | C3 | Calibration
Lard-B_RC3_01_3321 | Lard B | QC
Lard-D_RC4_01_3322 | Lard D | QC
pork-1_RB8_01_3318 | Pork 1 | Sample
pork-2_RC1_01_3319 | Pork 2 | Sample
pork-3_RC2_01_3320 | Pork 3 | Sample

## Calibration_info
Sample.name | Calibration.level | Calibration.type | Chain.length.info
A1 | 0.5 | Calibration A | 10_11_12_13_14_15_16_17
A2 | 2 | Calibration A | 10_11_12_13_14_15_16_17
A3 | 4 | Calibration A | 10_11_12_13_14_15_16_17
B1 | 0.5 | Calibration B | 10_11_12_13_14_15_16_17
B2 | 2 | Calibration B | 10_11_12_13_14_15_16_17
B3 | 4 | Calibration B | 10_11_12_13_14_15_16_17
C1 | 0.5 | Calibration C | 10_11_12_13_14_15_16_17
C2 | 2 | Calibration C | 10_11_12_13_14_15_16_17
C3 | 4 | Calibration C | 10_11_12_13_14_15_16_17

## Most_abundant
row.identity | compound.class | molecular.formula | m.z | retention.time | adduct
000_ISTD | InternalStandard | C'10Cl6H16 | 392.9383 | 9.6 | [M+Cl]
001_vSCCP_C9H16Cl4_[M+Cl] | vSCCP | C9H16Cl4 | 300.9671 | 10 | [M+Cl]
002_vSCCP_C9H16Cl4_[M-H] | vSCCP | C9H16Cl4 | 264.9904 | 10 | [M-H]
003_vSCCP_C9H15Cl5_[M+Cl] | vSCCP | C9H15Cl5 | 334.9281 | 10 | [M+Cl]
004_vSCCP_C9H15Cl5_[M-H] | vSCCP | C9H15Cl5 | 298.9514 | 10 | [M-H]
005_vSCCP_C9H14Cl6_[M+Cl] | vSCCP | C9H14Cl6 | 368.8891 | 10 | [M+Cl]
006_vSCCP_C9H14Cl6_[M-H] | vSCCP | C9H14Cl6 | 332.9125 | 10 | [M-H]
007_vSCCP_C9H13Cl7_[M+Cl] | vSCCP | C9H13Cl7 | 404.8472 | 10 | [M+Cl]
008_vSCCP_C9H13Cl7_[M-H] | vSCCP | C9H13Cl7 | 366.8735 | 10 | [M-H]
009_vSCCP_C9H12Cl8_[M+Cl] | vSCCP | C9H12Cl8 | 438.8083 | 10 | [M+Cl]
010_vSCCP_C9H12Cl8_[M-H] | vSCCP | C9H12Cl8 | 402.8316 | 10 | [M-H]
011_vSCCP_C9H11Cl9_[M+Cl] | vSCCP | C9H11Cl9 | 472.7693 | 10 | [M+Cl]
012_vSCCP_C9H11Cl9_[M-H] | vSCCP | C9H11Cl9 | 436.7926 | 10 | [M-H]
013_vSCCP_C9H10Cl10_[M+Cl] | vSCCP | C9H10Cl10 | 506.7303 | 10 | [M+Cl]
014_vSCCP_C9H10Cl10_[M-H] | vSCCP | C9H10Cl10 | 470.7536 | 10 | [M-H]
015_SCCP_C10H18Cl4_[M+Cl] | SCCP | C10H18Cl4 | 314.9827 | 10 | [M+Cl]
016_SCCP_C10H18Cl4_[M-H] | SCCP | C10H18Cl4 | 279.0061 | 10 | [M-H]
017_SCCP_C10H17Cl5_[M+Cl] | SCCP | C10H17Cl5 | 348.9438 | 10 | [M+Cl]
018_SCCP_C10H17Cl5_[M-H] | SCCP | C10H17Cl5 | 312.9671 | 10 | [M-H]
019_SCCP_C10H16Cl6_[M+Cl] | SCCP | C10H16Cl6 | 382.9048 | 10 | [M+Cl]
020_SCCP_C10H16Cl6_[M-H] | SCCP | C10H16Cl6 | 346.9281 | 10 | [M-H]
021_SCCP_C10H15Cl7_[M+Cl] | SCCP | C10H15Cl7 | 418.8629 | 10 | [M+Cl]
022_SCCP_C10H15Cl7_[M-H] | SCCP | C10H15Cl7 | 380.8891 | 10 | [M-H]
023_SCCP_C10H14Cl8_[M+Cl] | SCCP | C10H14Cl8 | 452.8239 | 10 | [M+Cl]
024_SCCP_C10H14Cl8_[M-H] | SCCP | C10H14Cl8 | 416.8472 | 10 | [M-H]
025_SCCP_C10H13Cl9_[M+Cl] | SCCP | C10H13Cl9 | 486.7849 | 10 | [M+Cl]
026_SCCP_C10H13Cl9_[M-H] | SCCP | C10H13Cl9 | 450.8083 | 10 | [M-H]
027_SCCP_C10H12Cl10_[M+Cl] | SCCP | C10H12Cl10 | 520.746 | 10 | [M+Cl]
028_SCCP_C10H12Cl10_[M-H] | SCCP | C10H12Cl10 | 484.7693 | 10 | [M-H]
029_SCCP_C10H11Cl11_[M+Cl] | SCCP | C10H11Cl11 | 556.7041 | 10 | [M+Cl]
030_SCCP_C10H11Cl11_[M-H] | SCCP | C10H11Cl11 | 518.7303 | 10 | [M-H]
031_SCCP_C11H20Cl4_[M+Cl] | SCCP | C11H20Cl4 | 328.9984 | 10 | [M+Cl]
032_SCCP_C11H20Cl4_[M-H] | SCCP | C11H20Cl4 | 293.0217 | 10 | [M-H]
033_SCCP_C11H19Cl5_[M+Cl] | SCCP | C11H19Cl5 | 362.9594 | 10 | [M+Cl]
034_SCCP_C11H19Cl5_[M-H] | SCCP | C11H19Cl5 | 326.9828 | 10 | [M-H]
035_SCCP_C11H18Cl6_[M+Cl] | SCCP | C11H18Cl6 | 396.9204 | 10 | [M+Cl]
036_SCCP_C11H18Cl6_[M-H] | SCCP | C11H18Cl6 | 360.9438 | 10 | [M-H]
037_SCCP_C11H17Cl7_[M+Cl] | SCCP | C11H17Cl7 | 432.8786 | 10 | [M+Cl]
038_SCCP_C11H17Cl7_[M-H] | SCCP | C11H17Cl7 | 394.9048 | 10 | [M-H]
039_SCCP_C11H16Cl8_[M+Cl] | SCCP | C11H16Cl8 | 466.8396 | 10 | [M+Cl]
040_SCCP_C11H16Cl8_[M-H] | SCCP | C11H16Cl8 | 430.8629 | 10 | [M-H]
041_SCCP_C11H15Cl9_[M+Cl] | SCCP | C11H15Cl9 | 500.8006 | 10 | [M+Cl]
042_SCCP_C11H15Cl9_[M-H] | SCCP | C11H15Cl9 | 464.8239 | 10 | [M-H]
043_SCCP_C11H14Cl10_[M+Cl] | SCCP | C11H14Cl10 | 534.7616 | 10 | [M+Cl]
044_SCCP_C11H14Cl10_[M-H] | SCCP | C11H14Cl10 | 498.7849 | 10 | [M-H]
045_SCCP_C11H13Cl11_[M+Cl] | SCCP | C11H13Cl11 | 570.7197 | 10 | [M+Cl]
046_SCCP_C11H13Cl11_[M-H] | SCCP | C11H13Cl11 | 532.746 | 10 | [M-H]
047_SCCP_C11H12Cl12_[M+Cl] | SCCP | C11H12Cl12 | 604.6807 | 10 | [M+Cl]
048_SCCP_C11H12Cl12_[M-H] | SCCP | C11H12Cl12 | 568.7041 | 10 | [M-H]
049_SCCP_C12H22Cl4_[M+Cl] | SCCP | C12H22Cl4 | 343.0141 | 10 | [M+Cl]
050_SCCP_C12H22Cl4_[M-H] | SCCP | C12H22Cl4 | 307.0374 | 10 | [M-H]
051_SCCP_C12H21Cl5_[M+Cl] | SCCP | C12H21Cl5 | 376.9751 | 10 | [M+Cl]
052_SCCP_C12H21Cl5_[M-H] | SCCP | C12H21Cl5 | 340.9984 | 10 | [M-H]
053_SCCP_C12H20Cl6_[M+Cl] | SCCP | C12H20Cl6 | 410.9361 | 10 | [M+Cl]
054_SCCP_C12H20Cl6_[M-H] | SCCP | C12H20Cl6 | 374.9594 | 10 | [M-H]
055_SCCP_C12H19Cl7_[M+Cl] | SCCP | C12H19Cl7 | 446.8942 | 10 | [M+Cl]
056_SCCP_C12H19Cl7_[M-H] | SCCP | C12H19Cl7 | 408.9205 | 10 | [M-H]
057_SCCP_C12H18Cl8_[M+Cl] | SCCP | C12H18Cl8 | 480.8552 | 10 | [M+Cl]
058_SCCP_C12H18Cl8_[M-H] | SCCP | C12H18Cl8 | 444.8786 | 10 | [M-H]
059_SCCP_C12H17Cl9_[M+Cl] | SCCP | C12H17Cl9 | 514.8163 | 10 | [M+Cl]
060_SCCP_C12H17Cl9_[M-H] | SCCP | C12H17Cl9 | 478.8396 | 10 | [M-H]
061_SCCP_C12H16Cl10_[M+Cl] | SCCP | C12H16Cl10 | 548.7773 | 10 | [M+Cl]
062_SCCP_C12H16Cl10_[M-H] | SCCP | C12H16Cl10 | 512.8006 | 10 | [M-H]
063_SCCP_C12H15Cl11_[M+Cl] | SCCP | C12H15Cl11 | 584.7354 | 10 | [M+Cl]
064_SCCP_C12H15Cl11_[M-H] | SCCP | C12H15Cl11 | 546.7616 | 10 | [M-H]
065_SCCP_C12H14Cl12_[M+Cl] | SCCP | C12H14Cl12 | 618.6964 | 10 | [M+Cl]
066_SCCP_C12H14Cl12_[M-H] | SCCP | C12H14Cl12 | 582.7197 | 10 | [M-H]
067_SCCP_C12H13Cl13_[M+Cl] | SCCP | C12H13Cl13 | 652.6574 | 10 | [M+Cl]
068_SCCP_C12H13Cl13_[M-H] | SCCP | C12H13Cl13 | 616.6808 | 10 | [M-H]
069_SCCP_C13H24Cl4_[M+Cl] | SCCP | C13H24Cl4 | 357.0297 | 10 | [M+Cl]
070_SCCP_C13H24Cl4_[M-H] | SCCP | C13H24Cl4 | 321.0531 | 10 | [M-H]
071_SCCP_C13H23Cl5_[M+Cl] | SCCP | C13H23Cl5 | 390.9907 | 10 | [M+Cl]
072_SCCP_C13H23Cl5_[M-H] | SCCP | C13H23Cl5 | 355.0141 | 10 | [M-H]
073_SCCP_C13H22Cl6_[M+Cl] | SCCP | C13H22Cl6 | 424.9518 | 10 | [M+Cl]
074_SCCP_C13H22Cl6_[M-H] | SCCP | C13H22Cl6 | 388.9751 | 10 | [M-H]
075_SCCP_C13H21Cl7_[M+Cl] | SCCP | C13H21Cl7 | 460.9099 | 10 | [M+Cl]
076_SCCP_C13H21Cl7_[M-H] | SCCP | C13H21Cl7 | 422.9361 | 10 | [M-H]
077_SCCP_C13H20Cl8_[M+Cl] | SCCP | C13H20Cl8 | 494.8709 | 10 | [M+Cl]
078_SCCP_C13H20Cl8_[M-H] | SCCP | C13H20Cl8 | 458.8942 | 10 | [M-H]
079_SCCP_C13H19Cl9_[M+Cl] | SCCP | C13H19Cl9 | 528.8319 | 10 | [M+Cl]
080_SCCP_C13H19Cl9_[M-H] | SCCP | C13H19Cl9 | 492.8552 | 10 | [M-H]
081_SCCP_C13H18Cl10_[M+Cl] | SCCP | C13H18Cl10 | 562.7929 | 10 | [M+Cl]
082_SCCP_C13H18Cl10_[M-H] | SCCP | C13H18Cl10 | 526.8163 | 10 | [M-H]
083_SCCP_C13H17Cl11_[M+Cl] | SCCP | C13H17Cl11 | 598.751 | 10 | [M+Cl]
084_SCCP_C13H17Cl11_[M-H] | SCCP | C13H17Cl11 | 560.7773 | 10 | [M-H]
085_SCCP_C13H16Cl12_[M+Cl] | SCCP | C13H16Cl12 | 632.7121 | 10 | [M+Cl]
086_SCCP_C13H16Cl12_[M-H] | SCCP | C13H16Cl12 | 596.7354 | 10 | [M-H]
087_SCCP_C13H15Cl13_[M+Cl] | SCCP | C13H15Cl13 | 666.6731 | 10 | [M+Cl]
088_SCCP_C13H15Cl13_[M-H] | SCCP | C13H15Cl13 | 630.6964 | 10 | [M-H]
089_SCCP_C13H14Cl14_[M+Cl] | SCCP | C13H14Cl14 | 700.6341 | 10 | [M+Cl]
090_SCCP_C13H14Cl14_[M-H] | SCCP | C13H14Cl14 | 664.6574 | 10 | [M-H]
091_MCCP_C14H26Cl4_[M+Cl] | MCCP | C14H26Cl4 | 371.0454 | 10 | [M+Cl]
092_MCCP_C14H26Cl4_[M-H] | MCCP | C14H26Cl4 | 335.0687 | 10 | [M-H]
093_MCCP_C14H25Cl5_[M+Cl] | MCCP | C14H25Cl5 | 405.0064 | 10 | [M+Cl]
094_MCCP_C14H25Cl5_[M-H] | MCCP | C14H25Cl5 | 369.0297 | 10 | [M-H]
095_MCCP_C14H24Cl6_[M+Cl] | MCCP | C14H24Cl6 | 438.9674 | 10 | [M+Cl]
096_MCCP_C14H24Cl6_[M-H] | MCCP | C14H24Cl6 | 402.9907 | 10 | [M-H]
097_MCCP_C14H23Cl7_[M+Cl] | MCCP | C14H23Cl7 | 474.9255 | 10 | [M+Cl]
098_MCCP_C14H23Cl7_[M-H] | MCCP | C14H23Cl7 | 436.9518 | 10 | [M-H]
099_MCCP_C14H22Cl8_[M+Cl] | MCCP | C14H22Cl8 | 508.8866 | 10 | [M+Cl]
100_MCCP_C14H22Cl8_[M-H] | MCCP | C14H22Cl8 | 472.9099 | 10 | [M-H]
101_MCCP_C14H21Cl9_[M+Cl] | MCCP | C14H21Cl9 | 542.8476 | 10 | [M+Cl]
102_MCCP_C14H21Cl9_[M-H] | MCCP | C14H21Cl9 | 506.8709 | 10 | [M-H]
103_MCCP_C14H20Cl10_[M+Cl] | MCCP | C14H20Cl10 | 576.8086 | 10 | [M+Cl]
104_MCCP_C14H20Cl10_[M-H] | MCCP | C14H20Cl10 | 540.8319 | 10 | [M-H]
105_MCCP_C14H19Cl11_[M+Cl] | MCCP | C14H19Cl11 | 612.7667 | 10 | [M+Cl]
106_MCCP_C14H19Cl11_[M-H] | MCCP | C14H19Cl11 | 574.7929 | 10 | [M-H]
107_MCCP_C14H18Cl12_[M+Cl] | MCCP | C14H18Cl12 | 646.7277 | 10 | [M+Cl]
108_MCCP_C14H18Cl12_[M-H] | MCCP | C14H18Cl12 | 610.7511 | 10 | [M-H]
109_MCCP_C14H17Cl13_[M+Cl] | MCCP | C14H17Cl13 | 680.6887 | 10 | [M+Cl]
110_MCCP_C14H17Cl13_[M-H] | MCCP | C14H17Cl13 | 644.7121 | 10 | [M-H]
111_MCCP_C14H16Cl14_[M+Cl] | MCCP | C14H16Cl14 | 714.6498 | 10 | [M+Cl]
112_MCCP_C14H16Cl14_[M-H] | MCCP | C14H16Cl14 | 678.6731 | 10 | [M-H]
113_MCCP_C14H15Cl15_[M+Cl] | MCCP | C14H15Cl15 | 750.6079 | 10 | [M+Cl]
114_MCCP_C14H15Cl15_[M-H] | MCCP | C14H15Cl15 | 712.6341 | 10 | [M-H]
115_MCCP_C15H28Cl4_[M+Cl] | MCCP | C15H28Cl4 | 385.061 | 10 | [M+Cl]
116_MCCP_C15H28Cl4_[M-H] | MCCP | C15H28Cl4 | 349.0844 | 10 | [M-H]
117_MCCP_C15H27Cl5_[M+Cl] | MCCP | C15H27Cl5 | 419.0221 | 10 | [M+Cl]
118_MCCP_C15H27Cl5_[M-H] | MCCP | C15H27Cl5 | 383.0454 | 10 | [M-H]
119_MCCP_C15H26Cl6_[M+Cl] | MCCP | C15H26Cl6 | 452.9831 | 10 | [M+Cl]
120_MCCP_C15H26Cl6_[M-H] | MCCP | C15H26Cl6 | 417.0064 | 10 | [M-H]
121_MCCP_C15H25Cl7_[M+Cl] | MCCP | C15H25Cl7 | 488.9412 | 10 | [M+Cl]
122_MCCP_C15H25Cl7_[M-H] | MCCP | C15H25Cl7 | 450.9674 | 10 | [M-H]
123_MCCP_C15H24Cl8_[M+Cl] | MCCP | C15H24Cl8 | 522.9022 | 10 | [M+Cl]
124_MCCP_C15H24Cl8_[M-H] | MCCP | C15H24Cl8 | 486.9256 | 10 | [M-H]
125_MCCP_C15H23Cl9_[M+Cl] | MCCP | C15H23Cl9 | 556.8632 | 10 | [M+Cl]
126_MCCP_C15H23Cl9_[M-H] | MCCP | C15H23Cl9 | 520.8866 | 10 | [M-H]
127_MCCP_C15H22Cl10_[M+Cl] | MCCP | C15H22Cl10 | 590.8243 | 10 | [M+Cl]
128_MCCP_C15H22Cl10_[M-H] | MCCP | C15H22Cl10 | 554.8476 | 10 | [M-H]
129_MCCP_C15H21Cl11_[M+Cl] | MCCP | C15H21Cl11 | 626.7824 | 10 | [M+Cl]
130_MCCP_C15H21Cl11_[M-H] | MCCP | C15H21Cl11 | 588.8086 | 10 | [M-H]
131_MCCP_C15H20Cl12_[M+Cl] | MCCP | C15H20Cl12 | 660.7434 | 10 | [M+Cl]
132_MCCP_C15H20Cl12_[M-H] | MCCP | C15H20Cl12 | 624.7667 | 10 | [M-H]
133_MCCP_C15H19Cl13_[M+Cl] | MCCP | C15H19Cl13 | 694.7044 | 10 | [M+Cl]
134_MCCP_C15H19Cl13_[M-H] | MCCP | C15H19Cl13 | 658.7277 | 10 | [M-H]
135_MCCP_C15H18Cl14_[M+Cl] | MCCP | C15H18Cl14 | 728.6654 | 10 | [M+Cl]
136_MCCP_C15H18Cl14_[M-H] | MCCP | C15H18Cl14 | 692.6888 | 10 | [M-H]
137_MCCP_C15H17Cl15_[M+Cl] | MCCP | C15H17Cl15 | 764.6235 | 10 | [M+Cl]
138_MCCP_C15H17Cl15_[M-H] | MCCP | C15H17Cl15 | 726.6498 | 10 | [M-H]
139_MCCP_C15H16Cl16_[M+Cl] | MCCP | C15H16Cl16 | 798.5846 | 10 | [M+Cl]
140_MCCP_C15H16Cl16_[M-H] | MCCP | C15H16Cl16 | 762.6079 | 10 | [M-H]
141_MCCP_C16H30Cl4_[M+Cl] | MCCP | C16H30Cl4 | 399.0767 | 10 | [M+Cl]
142_MCCP_C16H30Cl4_[M-H] | MCCP | C16H30Cl4 | 363.1001 | 10 | [M-H]
143_MCCP_C16H29Cl5_[M+Cl] | MCCP | C16H29Cl5 | 433.0377 | 10 | [M+Cl]
144_MCCP_C16H29Cl5_[M-H] | MCCP | C16H29Cl5 | 397.0611 | 10 | [M-H]
145_MCCP_C16H28Cl6_[M+Cl] | MCCP | C16H28Cl6 | 466.9987 | 10 | [M+Cl]
146_MCCP_C16H28Cl6_[M-H] | MCCP | C16H28Cl6 | 431.0221 | 10 | [M-H]
147_MCCP_C16H27Cl7_[M+Cl] | MCCP | C16H27Cl7 | 502.9569 | 10 | [M+Cl]
148_MCCP_C16H27Cl7_[M-H] | MCCP | C16H27Cl7 | 464.9831 | 10 | [M-H]
149_MCCP_C16H26Cl8_[M+Cl] | MCCP | C16H26Cl8 | 536.9179 | 10 | [M+Cl]
150_MCCP_C16H26Cl8_[M-H] | MCCP | C16H26Cl8 | 500.9412 | 10 | [M-H]
151_MCCP_C16H25Cl9_[M+Cl] | MCCP | C16H25Cl9 | 570.8789 | 10 | [M+Cl]
152_MCCP_C16H25Cl9_[M-H] | MCCP | C16H25Cl9 | 534.9022 | 10 | [M-H]
153_MCCP_C16H24Cl10_[M+Cl] | MCCP | C16H24Cl10 | 604.8399 | 10 | [M+Cl]
154_MCCP_C16H24Cl10_[M-H] | MCCP | C16H24Cl10 | 568.8633 | 10 | [M-H]
155_MCCP_C16H23Cl11_[M+Cl] | MCCP | C16H23Cl11 | 640.798 | 10 | [M+Cl]
156_MCCP_C16H23Cl11_[M-H] | MCCP | C16H23Cl11 | 602.8243 | 10 | [M-H]
157_MCCP_C16H22Cl12_[M+Cl] | MCCP | C16H22Cl12 | 674.7591 | 10 | [M+Cl]
158_MCCP_C16H22Cl12_[M-H] | MCCP | C16H22Cl12 | 638.7824 | 10 | [M-H]
159_MCCP_C16H21Cl13_[M+Cl] | MCCP | C16H21Cl13 | 708.7201 | 10 | [M+Cl]
160_MCCP_C16H21Cl13_[M-H] | MCCP | C16H21Cl13 | 672.7434 | 10 | [M-H]
161_MCCP_C16H20Cl14_[M+Cl] | MCCP | C16H20Cl14 | 742.6811 | 10 | [M+Cl]
162_MCCP_C16H20Cl14_[M-H] | MCCP | C16H20Cl14 | 706.7044 | 10 | [M-H]
163_MCCP_C16H19Cl15_[M+Cl] | MCCP | C16H19Cl15 | 778.6392 | 10 | [M+Cl]
164_MCCP_C16H19Cl15_[M-H] | MCCP | C16H19Cl15 | 740.6654 | 10 | [M-H]
165_MCCP_C16H18Cl16_[M+Cl] | MCCP | C16H18Cl16 | 812.6002 | 10 | [M+Cl]
166_MCCP_C16H18Cl16_[M-H] | MCCP | C16H18Cl16 | 776.6236 | 10 | [M-H]
167_MCCP_C16H17Cl17_[M+Cl] | MCCP | C16H17Cl17 | 846.5612 | 10 | [M+Cl]
168_MCCP_C16H17Cl17_[M-H] | MCCP | C16H17Cl17 | 810.5846 | 10 | [M-H]
169_MCCP_C17H32Cl4_[M+Cl] | MCCP | C17H32Cl4 | 413.0924 | 10 | [M+Cl]
170_MCCP_C17H32Cl4_[M-H] | MCCP | C17H32Cl4 | 377.1157 | 10 | [M-H]
171_MCCP_C17H31Cl5_[M+Cl] | MCCP | C17H31Cl5 | 447.0534 | 10 | [M+Cl]
172_MCCP_C17H31Cl5_[M-H] | MCCP | C17H31Cl5 | 411.0767 | 10 | [M-H]
173_MCCP_C17H30Cl6_[M+Cl] | MCCP | C17H30Cl6 | 481.0144 | 10 | [M+Cl]
174_MCCP_C17H30Cl6_[M-H] | MCCP | C17H30Cl6 | 445.0377 | 10 | [M-H]
175_MCCP_C17H29Cl7_[M+Cl] | MCCP | C17H29Cl7 | 516.9725 | 10 | [M+Cl]
176_MCCP_C17H29Cl7_[M-H] | MCCP | C17H29Cl7 | 478.9987 | 10 | [M-H]
177_MCCP_C17H28Cl8_[M+Cl] | MCCP | C17H28Cl8 | 550.9336 | 10 | [M+Cl]
178_MCCP_C17H28Cl8_[M-H] | MCCP | C17H28Cl8 | 514.9569 | 10 | [M-H]
179_MCCP_C17H27Cl9_[M+Cl] | MCCP | C17H27Cl9 | 584.8946 | 10 | [M+Cl]
180_MCCP_C17H27Cl9_[M-H] | MCCP | C17H27Cl9 | 548.9179 | 10 | [M-H]
181_MCCP_C17H26Cl10_[M+Cl] | MCCP | C17H26Cl10 | 618.8556 | 10 | [M+Cl]
182_MCCP_C17H26Cl10_[M-H] | MCCP | C17H26Cl10 | 582.8789 | 10 | [M-H]
183_MCCP_C17H25Cl11_[M+Cl] | MCCP | C17H25Cl11 | 654.8137 | 10 | [M+Cl]
184_MCCP_C17H25Cl11_[M-H] | MCCP | C17H25Cl11 | 616.8399 | 10 | [M-H]
185_MCCP_C17H24Cl12_[M+Cl] | MCCP | C17H24Cl12 | 688.7747 | 10 | [M+Cl]
186_MCCP_C17H24Cl12_[M-H] | MCCP | C17H24Cl12 | 652.7981 | 10 | [M-H]
187_MCCP_C17H23Cl13_[M+Cl] | MCCP | C17H23Cl13 | 722.7357 | 10 | [M+Cl]
188_MCCP_C17H23Cl13_[M-H] | MCCP | C17H23Cl13 | 686.7591 | 10 | [M-H]
189_MCCP_C17H22Cl14_[M+Cl] | MCCP | C17H22Cl14 | 756.6968 | 10 | [M+Cl]
190_MCCP_C17H22Cl14_[M-H] | MCCP | C17H22Cl14 | 720.7201 | 10 | [M-H]
191_MCCP_C17H21Cl15_[M+Cl] | MCCP | C17H21Cl15 | 792.6549 | 10 | [M+Cl]
192_MCCP_C17H21Cl15_[M-H] | MCCP | C17H21Cl15 | 754.6811 | 10 | [M-H]
193_MCCP_C17H20Cl16_[M+Cl] | MCCP | C17H20Cl16 | 826.6159 | 10 | [M+Cl]
194_MCCP_C17H20Cl16_[M-H] | MCCP | C17H20Cl16 | 790.6392 | 10 | [M-H]
195_MCCP_C17H19Cl17_[M+Cl] | MCCP | C17H19Cl17 | 860.5769 | 10 | [M+Cl]
196_MCCP_C17H19Cl17_[M-H] | MCCP | C17H19Cl17 | 824.6002 | 10 | [M-H]
197_MCCP_C17H18Cl18_[M+Cl] | MCCP | C17H18Cl18 | 894.5379 | 10 | [M+Cl]
198_MCCP_C17H18Cl18_[M-H] | MCCP | C17H18Cl18 | 858.5613 | 10 | [M-H]
199_LCCP_C18H34Cl4_[M+Cl] | LCCP | C18H34Cl4 | 427.108 | 10 | [M+Cl]
200_LCCP_C18H34Cl4_[M-H] | LCCP | C18H34Cl4 | 391.1314 | 10 | [M-H]
201_LCCP_C18H33Cl5_[M+Cl] | LCCP | C18H33Cl5 | 461.069 | 10 | [M+Cl]
202_LCCP_C18H33Cl5_[M-H] | LCCP | C18H33Cl5 | 425.0924 | 10 | [M-H]
203_LCCP_C18H32Cl6_[M+Cl] | LCCP | C18H32Cl6 | 495.0301 | 10 | [M+Cl]
204_LCCP_C18H32Cl6_[M-H] | LCCP | C18H32Cl6 | 459.0534 | 10 | [M-H]
205_LCCP_C18H31Cl7_[M+Cl] | LCCP | C18H31Cl7 | 530.9882 | 10 | [M+Cl]
206_LCCP_C18H31Cl7_[M-H] | LCCP | C18H31Cl7 | 493.0144 | 10 | [M-H]
207_LCCP_C18H30Cl8_[M+Cl] | LCCP | C18H30Cl8 | 564.9492 | 10 | [M+Cl]
208_LCCP_C18H30Cl8_[M-H] | LCCP | C18H30Cl8 | 528.9726 | 10 | [M-H]
209_LCCP_C18H29Cl9_[M+Cl] | LCCP | C18H29Cl9 | 598.9102 | 10 | [M+Cl]
210_LCCP_C18H29Cl9_[M-H] | LCCP | C18H29Cl9 | 562.9336 | 10 | [M-H]
211_LCCP_C18H28Cl10_[M+Cl] | LCCP | C18H28Cl10 | 632.8712 | 10 | [M+Cl]
212_LCCP_C18H28Cl10_[M-H] | LCCP | C18H28Cl10 | 596.8946 | 10 | [M-H]
213_LCCP_C18H27Cl11_[M+Cl] | LCCP | C18H27Cl11 | 668.8294 | 10 | [M+Cl]
214_LCCP_C18H27Cl11_[M-H] | LCCP | C18H27Cl11 | 630.8556 | 10 | [M-H]
215_LCCP_C18H26Cl12_[M+Cl] | LCCP | C18H26Cl12 | 702.7904 | 10 | [M+Cl]
216_LCCP_C18H26Cl12_[M-H] | LCCP | C18H26Cl12 | 666.8137 | 10 | [M-H]
217_LCCP_C18H25Cl13_[M+Cl] | LCCP | C18H25Cl13 | 736.7514 | 10 | [M+Cl]
218_LCCP_C18H25Cl13_[M-H] | LCCP | C18H25Cl13 | 700.7747 | 10 | [M-H]
219_LCCP_C18H24Cl14_[M+Cl] | LCCP | C18H24Cl14 | 770.7124 | 10 | [M+Cl]
220_LCCP_C18H24Cl14_[M-H] | LCCP | C18H24Cl14 | 734.7358 | 10 | [M-H]
221_LCCP_C18H23Cl15_[M+Cl] | LCCP | C18H23Cl15 | 806.6705 | 10 | [M+Cl]
222_LCCP_C18H23Cl15_[M-H] | LCCP | C18H23Cl15 | 768.6968 | 10 | [M-H]
223_LCCP_C18H22Cl16_[M+Cl] | LCCP | C18H22Cl16 | 840.6316 | 10 | [M+Cl]
224_LCCP_C18H22Cl16_[M-H] | LCCP | C18H22Cl16 | 804.6549 | 10 | [M-H]
225_LCCP_C18H21Cl17_[M+Cl] | LCCP | C18H21Cl17 | 874.5926 | 10 | [M+Cl]
226_LCCP_C18H21Cl17_[M-H] | LCCP | C18H21Cl17 | 838.6159 | 10 | [M-H]
227_LCCP_C18H20Cl18_[M+Cl] | LCCP | C18H20Cl18 | 908.5536 | 10 | [M+Cl]
228_LCCP_C18H20Cl18_[M-H] | LCCP | C18H20Cl18 | 872.5769 | 10 | [M-H]
229_LCCP_C18H19Cl19_[M+Cl] | LCCP | C18H19Cl19 | 944.5117 | 10 | [M+Cl]
230_LCCP_C18H19Cl19_[M-H] | LCCP | C18H19Cl19 | 906.5379 | 10 | [M-H]
231_LCCP_C19H36Cl4_[M+Cl] | LCCP | C19H36Cl4 | 441.1237 | 10 | [M+Cl]
232_LCCP_C19H36Cl4_[M-H] | LCCP | C19H36Cl4 | 405.147 | 10 | [M-H]
233_LCCP_C19H35Cl5_[M+Cl] | LCCP | C19H35Cl5 | 475.0847 | 10 | [M+Cl]
234_LCCP_C19H35Cl5_[M-H] | LCCP | C19H35Cl5 | 439.108 | 10 | [M-H]
235_LCCP_C19H34Cl6_[M+Cl] | LCCP | C19H34Cl6 | 509.0457 | 10 | [M+Cl]
236_LCCP_C19H34Cl6_[M-H] | LCCP | C19H34Cl6 | 473.0691 | 10 | [M-H]
237_LCCP_C19H33Cl7_[M+Cl] | LCCP | C19H33Cl7 | 545.0039 | 10 | [M+Cl]
238_LCCP_C19H33Cl7_[M-H] | LCCP | C19H33Cl7 | 507.0301 | 10 | [M-H]
239_LCCP_C19H32Cl8_[M+Cl] | LCCP | C19H32Cl8 | 578.9649 | 10 | [M+Cl]
240_LCCP_C19H32Cl8_[M-H] | LCCP | C19H32Cl8 | 542.9882 | 10 | [M-H]
241_LCCP_C19H31Cl9_[M+Cl] | LCCP | C19H31Cl9 | 612.9259 | 10 | [M+Cl]
242_LCCP_C19H31Cl9_[M-H] | LCCP | C19H31Cl9 | 576.9492 | 10 | [M-H]
243_LCCP_C19H30Cl10_[M+Cl] | LCCP | C19H30Cl10 | 646.8869 | 10 | [M+Cl]
244_LCCP_C19H30Cl10_[M-H] | LCCP | C19H30Cl10 | 610.9102 | 10 | [M-H]
245_LCCP_C19H29Cl11_[M+Cl] | LCCP | C19H29Cl11 | 682.845 | 10 | [M+Cl]
246_LCCP_C19H29Cl11_[M-H] | LCCP | C19H29Cl11 | 644.8713 | 10 | [M-H]
247_LCCP_C19H28Cl12_[M+Cl] | LCCP | C19H28Cl12 | 716.8061 | 10 | [M+Cl]
248_LCCP_C19H28Cl12_[M-H] | LCCP | C19H28Cl12 | 680.8294 | 10 | [M-H]
249_LCCP_C19H27Cl13_[M+Cl] | LCCP | C19H27Cl13 | 750.7671 | 10 | [M+Cl]
250_LCCP_C19H27Cl13_[M-H] | LCCP | C19H27Cl13 | 714.7904 | 10 | [M-H]
251_LCCP_C19H26Cl14_[M+Cl] | LCCP | C19H26Cl14 | 784.7281 | 10 | [M+Cl]
252_LCCP_C19H26Cl14_[M-H] | LCCP | C19H26Cl14 | 748.7514 | 10 | [M-H]
253_LCCP_C19H25Cl15_[M+Cl] | LCCP | C19H25Cl15 | 820.6862 | 10 | [M+Cl]
254_LCCP_C19H25Cl15_[M-H] | LCCP | C19H25Cl15 | 782.7124 | 10 | [M-H]
255_LCCP_C19H24Cl16_[M+Cl] | LCCP | C19H24Cl16 | 854.6472 | 10 | [M+Cl]
256_LCCP_C19H24Cl16_[M-H] | LCCP | C19H24Cl16 | 818.6706 | 10 | [M-H]
257_LCCP_C19H23Cl17_[M+Cl] | LCCP | C19H23Cl17 | 888.6082 | 10 | [M+Cl]
258_LCCP_C19H23Cl17_[M-H] | LCCP | C19H23Cl17 | 852.6316 | 10 | [M-H]
259_LCCP_C19H22Cl18_[M+Cl] | LCCP | C19H22Cl18 | 922.5693 | 10 | [M+Cl]
260_LCCP_C19H22Cl18_[M-H] | LCCP | C19H22Cl18 | 886.5926 | 10 | [M-H]
261_LCCP_C19H21Cl19_[M+Cl] | LCCP | C19H21Cl19 | 958.5274 | 10 | [M+Cl]
262_LCCP_C19H21Cl19_[M-H] | LCCP | C19H21Cl19 | 920.5536 | 10 | [M-H]
263_LCCP_C19H20Cl20_[M+Cl] | LCCP | C19H20Cl20 | 992.4884 | 10 | [M+Cl]
264_LCCP_C19H20Cl20_[M-H] | LCCP | C19H20Cl20 | 956.5117 | 10 | [M-H]
265_LCCP_C20H38Cl4_[M+Cl] | LCCP | C20H38Cl4 | 455.1394 | 10 | [M+Cl]
266_LCCP_C20H38Cl4_[M-H] | LCCP | C20H38Cl4 | 419.1627 | 10 | [M-H]
267_LCCP_C20H37Cl5_[M+Cl] | LCCP | C20H37Cl5 | 489.1004 | 10 | [M+Cl]
268_LCCP_C20H37Cl5_[M-H] | LCCP | C20H37Cl5 | 453.1237 | 10 | [M-H]
269_LCCP_C20H36Cl6_[M+Cl] | LCCP | C20H36Cl6 | 523.0614 | 10 | [M+Cl]
270_LCCP_C20H36Cl6_[M-H] | LCCP | C20H36Cl6 | 487.0847 | 10 | [M-H]
271_LCCP_C20H35Cl7_[M+Cl] | LCCP | C20H35Cl7 | 559.0196 | 10 | [M+Cl]
272_LCCP_C20H35Cl7_[M-H] | LCCP | C20H35Cl7 | 521.0457 | 10 | [M-H]
273_LCCP_C20H34Cl8_[M+Cl] | LCCP | C20H34Cl8 | 592.9806 | 10 | [M+Cl]
274_LCCP_C20H34Cl8_[M-H] | LCCP | C20H34Cl8 | 557.0039 | 10 | [M-H]
275_LCCP_C20H33Cl9_[M+Cl] | LCCP | C20H33Cl9 | 626.9416 | 10 | [M+Cl]
276_LCCP_C20H33Cl9_[M-H] | LCCP | C20H33Cl9 | 590.9649 | 10 | [M-H]
277_LCCP_C20H32Cl10_[M+Cl] | LCCP | C20H32Cl10 | 660.9026 | 10 | [M+Cl]
278_LCCP_C20H32Cl10_[M-H] | LCCP | C20H32Cl10 | 624.9259 | 10 | [M-H]
279_LCCP_C20H31Cl11_[M+Cl] | LCCP | C20H31Cl11 | 696.8607 | 10 | [M+Cl]
280_LCCP_C20H31Cl11_[M-H] | LCCP | C20H31Cl11 | 658.8869 | 10 | [M-H]
281_LCCP_C20H30Cl12_[M+Cl] | LCCP | C20H30Cl12 | 730.8217 | 10 | [M+Cl]
282_LCCP_C20H30Cl12_[M-H] | LCCP | C20H30Cl12 | 694.8451 | 10 | [M-H]
283_LCCP_C20H29Cl13_[M+Cl] | LCCP | C20H29Cl13 | 764.7827 | 10 | [M+Cl]
284_LCCP_C20H29Cl13_[M-H] | LCCP | C20H29Cl13 | 728.8061 | 10 | [M-H]
285_LCCP_C20H28Cl14_[M+Cl] | LCCP | C20H28Cl14 | 798.7438 | 10 | [M+Cl]
286_LCCP_C20H28Cl14_[M-H] | LCCP | C20H28Cl14 | 762.7671 | 10 | [M-H]
287_LCCP_C20H27Cl15_[M+Cl] | LCCP | C20H27Cl15 | 834.7019 | 10 | [M+Cl]
288_LCCP_C20H27Cl15_[M-H] | LCCP | C20H27Cl15 | 796.7281 | 10 | [M-H]
289_LCCP_C20H26Cl16_[M+Cl] | LCCP | C20H26Cl16 | 868.6629 | 10 | [M+Cl]
290_LCCP_C20H26Cl16_[M-H] | LCCP | C20H26Cl16 | 832.6862 | 10 | [M-H]
291_LCCP_C20H25Cl17_[M+Cl] | LCCP | C20H25Cl17 | 902.6239 | 10 | [M+Cl]
292_LCCP_C20H25Cl17_[M-H] | LCCP | C20H25Cl17 | 866.6472 | 10 | [M-H]
293_LCCP_C20H24Cl18_[M+Cl] | LCCP | C20H24Cl18 | 936.5849 | 10 | [M+Cl]
294_LCCP_C20H24Cl18_[M-H] | LCCP | C20H24Cl18 | 900.6083 | 10 | [M-H]
295_LCCP_C20H23Cl19_[M+Cl] | LCCP | C20H23Cl19 | 972.543 | 10 | [M+Cl]
296_LCCP_C20H23Cl19_[M-H] | LCCP | C20H23Cl19 | 934.5693 | 10 | [M-H]
297_LCCP_C20H22Cl20_[M+Cl] | LCCP | C20H22Cl20 | 1006.5041 | 10 | [M+Cl]
298_LCCP_C20H22Cl20_[M-H] | LCCP | C20H22Cl20 | 970.5274 | 10 | [M-H]
299_LCCP_C20H21Cl21_[M+Cl] | LCCP | C20H21Cl21 | 1040.4651 | 10 | [M+Cl]
300_LCCP_C20H21Cl21_[M-H] | LCCP | C20H21Cl21 | 1004.4884 | 10 | [M-H]
301_vLCCP_C21H40Cl4_[M+Cl] | vLCCP | C21H40Cl4 | 469.155 | 10 | [M+Cl]
302_vLCCP_C21H40Cl4_[M-H] | vLCCP | C21H40Cl4 | 433.1784 | 10 | [M-H]
303_vLCCP_C21H39Cl5_[M+Cl] | vLCCP | C21H39Cl5 | 503.116 | 10 | [M+Cl]
304_vLCCP_C21H39Cl5_[M-H] | vLCCP | C21H39Cl5 | 467.1394 | 10 | [M-H]
305_vLCCP_C21H38Cl6_[M+Cl] | vLCCP | C21H38Cl6 | 537.077 | 10 | [M+Cl]
306_vLCCP_C21H38Cl6_[M-H] | vLCCP | C21H38Cl6 | 501.1004 | 10 | [M-H]
307_vLCCP_C21H37Cl7_[M+Cl] | vLCCP | C21H37Cl7 | 573.0352 | 10 | [M+Cl]
308_vLCCP_C21H37Cl7_[M-H] | vLCCP | C21H37Cl7 | 535.0614 | 10 | [M-H]
309_vLCCP_C21H36Cl8_[M+Cl] | vLCCP | C21H36Cl8 | 606.9962 | 10 | [M+Cl]
310_vLCCP_C21H36Cl8_[M-H] | vLCCP | C21H36Cl8 | 571.0196 | 10 | [M-H]
311_vLCCP_C21H35Cl9_[M+Cl] | vLCCP | C21H35Cl9 | 640.9572 | 10 | [M+Cl]
312_vLCCP_C21H35Cl9_[M-H] | vLCCP | C21H35Cl9 | 604.9806 | 10 | [M-H]
313_vLCCP_C21H34Cl10_[M+Cl] | vLCCP | C21H34Cl10 | 674.9182 | 10 | [M+Cl]
314_vLCCP_C21H34Cl10_[M-H] | vLCCP | C21H34Cl10 | 638.9416 | 10 | [M-H]
315_vLCCP_C21H33Cl11_[M+Cl] | vLCCP | C21H33Cl11 | 710.8764 | 10 | [M+Cl]
316_vLCCP_C21H33Cl11_[M-H] | vLCCP | C21H33Cl11 | 672.9026 | 10 | [M-H]
317_vLCCP_C21H32Cl12_[M+Cl] | vLCCP | C21H32Cl12 | 744.8374 | 10 | [M+Cl]
318_vLCCP_C21H32Cl12_[M-H] | vLCCP | C21H32Cl12 | 708.8607 | 10 | [M-H]
319_vLCCP_C21H31Cl13_[M+Cl] | vLCCP | C21H31Cl13 | 778.7984 | 10 | [M+Cl]
320_vLCCP_C21H31Cl13_[M-H] | vLCCP | C21H31Cl13 | 742.8217 | 10 | [M-H]
321_vLCCP_C21H30Cl14_[M+Cl] | vLCCP | C21H30Cl14 | 812.7594 | 10 | [M+Cl]
322_vLCCP_C21H30Cl14_[M-H] | vLCCP | C21H30Cl14 | 776.7828 | 10 | [M-H]
323_vLCCP_C21H29Cl15_[M+Cl] | vLCCP | C21H29Cl15 | 848.7176 | 10 | [M+Cl]
324_vLCCP_C21H29Cl15_[M-H] | vLCCP | C21H29Cl15 | 810.7438 | 10 | [M-H]
325_vLCCP_C21H28Cl16_[M+Cl] | vLCCP | C21H28Cl16 | 882.6786 | 10 | [M+Cl]
326_vLCCP_C21H28Cl16_[M-H] | vLCCP | C21H28Cl16 | 846.7019 | 10 | [M-H]
327_vLCCP_C21H27Cl17_[M+Cl] | vLCCP | C21H27Cl17 | 916.6396 | 10 | [M+Cl]
328_vLCCP_C21H27Cl17_[M-H] | vLCCP | C21H27Cl17 | 880.6629 | 10 | [M-H]
329_vLCCP_C21H26Cl18_[M+Cl] | vLCCP | C21H26Cl18 | 950.6006 | 10 | [M+Cl]
330_vLCCP_C21H26Cl18_[M-H] | vLCCP | C21H26Cl18 | 914.6239 | 10 | [M-H]
331_vLCCP_C21H25Cl19_[M+Cl] | vLCCP | C21H25Cl19 | 986.5587 | 10 | [M+Cl]
332_vLCCP_C21H25Cl19_[M-H] | vLCCP | C21H25Cl19 | 948.5849 | 10 | [M-H]
333_vLCCP_C21H24Cl20_[M+Cl] | vLCCP | C21H24Cl20 | 1020.5197 | 10 | [M+Cl]
334_vLCCP_C21H24Cl20_[M-H] | vLCCP | C21H24Cl20 | 984.5431 | 10 | [M-H]
335_vLCCP_C21H23Cl21_[M+Cl] | vLCCP | C21H23Cl21 | 1054.4807 | 10 | [M+Cl]
336_vLCCP_C21H23Cl21_[M-H] | vLCCP | C21H23Cl21 | 1018.5041 | 10 | [M-H]
337_vLCCP_C21H22Cl22_[M+Cl] | vLCCP | C21H22Cl22 | 1088.4418 | 10 | [M+Cl]
338_vLCCP_C21H22Cl22_[M-H] | vLCCP | C21H22Cl22 | 1052.4651 | 10 | [M-H]
339_vLCCP_C22H42Cl4_[M+Cl] | vLCCP | C22H42Cl4 | 483.1707 | 10 | [M+Cl]
340_vLCCP_C22H42Cl4_[M-H] | vLCCP | C22H42Cl4 | 447.1941 | 10 | [M-H]
341_vLCCP_C22H41Cl5_[M+Cl] | vLCCP | C22H41Cl5 | 517.1317 | 10 | [M+Cl]
342_vLCCP_C22H41Cl5_[M-H] | vLCCP | C22H41Cl5 | 481.155 | 10 | [M-H]
343_vLCCP_C22H40Cl6_[M+Cl] | vLCCP | C22H40Cl6 | 551.0927 | 10 | [M+Cl]
344_vLCCP_C22H40Cl6_[M-H] | vLCCP | C22H40Cl6 | 515.116 | 10 | [M-H]
345_vLCCP_C22H39Cl7_[M+Cl] | vLCCP | C22H39Cl7 | 587.0509 | 10 | [M+Cl]
346_vLCCP_C22H39Cl7_[M-H] | vLCCP | C22H39Cl7 | 549.077 | 10 | [M-H]
347_vLCCP_C22H38Cl8_[M+Cl] | vLCCP | C22H38Cl8 | 621.0119 | 10 | [M+Cl]
348_vLCCP_C22H38Cl8_[M-H] | vLCCP | C22H38Cl8 | 585.0352 | 10 | [M-H]
349_vLCCP_C22H37Cl9_[M+Cl] | vLCCP | C22H37Cl9 | 654.9729 | 10 | [M+Cl]
350_vLCCP_C22H37Cl9_[M-H] | vLCCP | C22H37Cl9 | 618.9962 | 10 | [M-H]
351_vLCCP_C22H36Cl10_[M+Cl] | vLCCP | C22H36Cl10 | 688.9339 | 10 | [M+Cl]
352_vLCCP_C22H36Cl10_[M-H] | vLCCP | C22H36Cl10 | 652.9572 | 10 | [M-H]
353_vLCCP_C22H35Cl11_[M+Cl] | vLCCP | C22H35Cl11 | 724.8921 | 10 | [M+Cl]
354_vLCCP_C22H35Cl11_[M-H] | vLCCP | C22H35Cl11 | 686.9183 | 10 | [M-H]
355_vLCCP_C22H34Cl12_[M+Cl] | vLCCP | C22H34Cl12 | 758.8531 | 10 | [M+Cl]
356_vLCCP_C22H34Cl12_[M-H] | vLCCP | C22H34Cl12 | 722.8764 | 10 | [M-H]
357_vLCCP_C22H33Cl13_[M+Cl] | vLCCP | C22H33Cl13 | 792.8141 | 10 | [M+Cl]
358_vLCCP_C22H33Cl13_[M-H] | vLCCP | C22H33Cl13 | 756.8374 | 10 | [M-H]
359_vLCCP_C22H32Cl14_[M+Cl] | vLCCP | C22H32Cl14 | 826.7751 | 10 | [M+Cl]
360_vLCCP_C22H32Cl14_[M-H] | vLCCP | C22H32Cl14 | 790.7984 | 10 | [M-H]
361_vLCCP_C22H31Cl15_[M+Cl] | vLCCP | C22H31Cl15 | 862.7332 | 10 | [M+Cl]
362_vLCCP_C22H31Cl15_[M-H] | vLCCP | C22H31Cl15 | 824.7594 | 10 | [M-H]
363_vLCCP_C22H30Cl16_[M+Cl] | vLCCP | C22H30Cl16 | 896.6942 | 10 | [M+Cl]
364_vLCCP_C22H30Cl16_[M-H] | vLCCP | C22H30Cl16 | 860.7176 | 10 | [M-H]
365_vLCCP_C22H29Cl17_[M+Cl] | vLCCP | C22H29Cl17 | 930.6553 | 10 | [M+Cl]
366_vLCCP_C22H29Cl17_[M-H] | vLCCP | C22H29Cl17 | 894.6786 | 10 | [M-H]
367_vLCCP_C22H28Cl18_[M+Cl] | vLCCP | C22H28Cl18 | 964.6163 | 10 | [M+Cl]
368_vLCCP_C22H28Cl18_[M-H] | vLCCP | C22H28Cl18 | 928.6396 | 10 | [M-H]
369_vLCCP_C22H27Cl19_[M+Cl] | vLCCP | C22H27Cl19 | 1000.5744 | 10 | [M+Cl]
370_vLCCP_C22H27Cl19_[M-H] | vLCCP | C22H27Cl19 | 962.6006 | 10 | [M-H]
371_vLCCP_C22H26Cl20_[M+Cl] | vLCCP | C22H26Cl20 | 1034.5354 | 10 | [M+Cl]
372_vLCCP_C22H26Cl20_[M-H] | vLCCP | C22H26Cl20 | 998.5587 | 10 | [M-H]
373_vLCCP_C22H25Cl21_[M+Cl] | vLCCP | C22H25Cl21 | 1068.4964 | 10 | [M+Cl]
374_vLCCP_C22H25Cl21_[M-H] | vLCCP | C22H25Cl21 | 1032.5198 | 10 | [M-H]
375_vLCCP_C22H24Cl22_[M+Cl] | vLCCP | C22H24Cl22 | 1102.4574 | 10 | [M+Cl]
376_vLCCP_C22H24Cl22_[M-H] | vLCCP | C22H24Cl22 | 1066.4808 | 10 | [M-H]
377_vLCCP_C22H23Cl23_[M+Cl] | vLCCP | C22H23Cl23 | 1138.4156 | 10 | [M+Cl]
378_vLCCP_C22H23Cl23_[M-H] | vLCCP | C22H23Cl23 | 1100.4418 | 10 | [M-H]
379_vLCCP_C23H44Cl4_[M+Cl] | vLCCP | C23H44Cl4 | 497.1864 | 10 | [M+Cl]
380_vLCCP_C23H44Cl4_[M-H] | vLCCP | C23H44Cl4 | 461.2097 | 10 | [M-H]
381_vLCCP_C23H43Cl5_[M+Cl] | vLCCP | C23H43Cl5 | 531.1474 | 10 | [M+Cl]
382_vLCCP_C23H43Cl5_[M-H] | vLCCP | C23H43Cl5 | 495.1707 | 10 | [M-H]
383_vLCCP_C23H42Cl6_[M+Cl] | vLCCP | C23H42Cl6 | 565.1084 | 10 | [M+Cl]
384_vLCCP_C23H42Cl6_[M-H] | vLCCP | C23H42Cl6 | 529.1317 | 10 | [M-H]
385_vLCCP_C23H41Cl7_[M+Cl] | vLCCP | C23H41Cl7 | 601.0666 | 10 | [M+Cl]
386_vLCCP_C23H41Cl7_[M-H] | vLCCP | C23H41Cl7 | 563.0927 | 10 | [M-H]
387_vLCCP_C23H40Cl8_[M+Cl] | vLCCP | C23H40Cl8 | 635.0276 | 10 | [M+Cl]
388_vLCCP_C23H40Cl8_[M-H] | vLCCP | C23H40Cl8 | 599.0509 | 10 | [M-H]
389_vLCCP_C23H39Cl9_[M+Cl] | vLCCP | C23H39Cl9 | 668.9886 | 10 | [M+Cl]
390_vLCCP_C23H39Cl9_[M-H] | vLCCP | C23H39Cl9 | 633.0119 | 10 | [M-H]
391_vLCCP_C23H38Cl10_[M+Cl] | vLCCP | C23H38Cl10 | 702.9496 | 10 | [M+Cl]
392_vLCCP_C23H38Cl10_[M-H] | vLCCP | C23H38Cl10 | 666.9729 | 10 | [M-H]
393_vLCCP_C23H37Cl11_[M+Cl] | vLCCP | C23H37Cl11 | 738.9077 | 10 | [M+Cl]
394_vLCCP_C23H37Cl11_[M-H] | vLCCP | C23H37Cl11 | 700.9339 | 10 | [M-H]
395_vLCCP_C23H36Cl12_[M+Cl] | vLCCP | C23H36Cl12 | 772.8687 | 10 | [M+Cl]
396_vLCCP_C23H36Cl12_[M-H] | vLCCP | C23H36Cl12 | 736.8921 | 10 | [M-H]
397_vLCCP_C23H35Cl13_[M+Cl] | vLCCP | C23H35Cl13 | 806.8297 | 10 | [M+Cl]
398_vLCCP_C23H35Cl13_[M-H] | vLCCP | C23H35Cl13 | 770.8531 | 10 | [M-H]
399_vLCCP_C23H34Cl14_[M+Cl] | vLCCP | C23H34Cl14 | 840.7908 | 10 | [M+Cl]
400_vLCCP_C23H34Cl14_[M-H] | vLCCP | C23H34Cl14 | 804.8141 | 10 | [M-H]
401_vLCCP_C23H33Cl15_[M+Cl] | vLCCP | C23H33Cl15 | 876.7489 | 10 | [M+Cl]
402_vLCCP_C23H33Cl15_[M-H] | vLCCP | C23H33Cl15 | 838.7751 | 10 | [M-H]
403_vLCCP_C23H32Cl16_[M+Cl] | vLCCP | C23H32Cl16 | 910.7099 | 10 | [M+Cl]
404_vLCCP_C23H32Cl16_[M-H] | vLCCP | C23H32Cl16 | 874.7333 | 10 | [M-H]
405_vLCCP_C23H31Cl17_[M+Cl] | vLCCP | C23H31Cl17 | 944.6709 | 10 | [M+Cl]
406_vLCCP_C23H31Cl17_[M-H] | vLCCP | C23H31Cl17 | 908.6943 | 10 | [M-H]
407_vLCCP_C23H30Cl18_[M+Cl] | vLCCP | C23H30Cl18 | 978.6319 | 10 | [M+Cl]
408_vLCCP_C23H30Cl18_[M-H] | vLCCP | C23H30Cl18 | 942.6553 | 10 | [M-H]
409_vLCCP_C23H29Cl19_[M+Cl] | vLCCP | C23H29Cl19 | 1014.5901 | 10 | [M+Cl]
410_vLCCP_C23H29Cl19_[M-H] | vLCCP | C23H29Cl19 | 976.6163 | 10 | [M-H]
411_vLCCP_C23H28Cl20_[M+Cl] | vLCCP | C23H28Cl20 | 1048.5511 | 10 | [M+Cl]
412_vLCCP_C23H28Cl20_[M-H] | vLCCP | C23H28Cl20 | 1012.5744 | 10 | [M-H]
413_vLCCP_C23H27Cl21_[M+Cl] | vLCCP | C23H27Cl21 | 1082.5121 | 10 | [M+Cl]
414_vLCCP_C23H27Cl21_[M-H] | vLCCP | C23H27Cl21 | 1046.5354 | 10 | [M-H]
415_vLCCP_C23H26Cl22_[M+Cl] | vLCCP | C23H26Cl22 | 1116.4731 | 10 | [M+Cl]
416_vLCCP_C23H26Cl22_[M-H] | vLCCP | C23H26Cl22 | 1080.4964 | 10 | [M-H]
417_vLCCP_C23H25Cl23_[M+Cl] | vLCCP | C23H25Cl23 | 1152.4312 | 10 | [M+Cl]
418_vLCCP_C23H25Cl23_[M-H] | vLCCP | C23H25Cl23 | 1114.4575 | 10 | [M-H]
419_vLCCP_C23H24Cl24_[M+Cl] | vLCCP | C23H24Cl24 | 1186.3922 | 10 | [M+Cl]
420_vLCCP_C23H24Cl24_[M-H] | vLCCP | C23H24Cl24 | 1150.4156 | 10 | [M-H]
421_vLCCP_C24H46Cl4_[M+Cl] | vLCCP | C24H46Cl4 | 511.202 | 10 | [M+Cl]
422_vLCCP_C24H46Cl4_[M-H] | vLCCP | C24H46Cl4 | 475.2254 | 10 | [M-H]
423_vLCCP_C24H45Cl5_[M+Cl] | vLCCP | C24H45Cl5 | 545.163 | 10 | [M+Cl]
424_vLCCP_C24H45Cl5_[M-H] | vLCCP | C24H45Cl5 | 509.1864 | 10 | [M-H]
425_vLCCP_C24H44Cl6_[M+Cl] | vLCCP | C24H44Cl6 | 579.124 | 10 | [M+Cl]
426_vLCCP_C24H44Cl6_[M-H] | vLCCP | C24H44Cl6 | 543.1474 | 10 | [M-H]
427_vLCCP_C24H43Cl7_[M+Cl] | vLCCP | C24H43Cl7 | 615.0822 | 10 | [M+Cl]
428_vLCCP_C24H43Cl7_[M-H] | vLCCP | C24H43Cl7 | 577.1084 | 10 | [M-H]
429_vLCCP_C24H42Cl8_[M+Cl] | vLCCP | C24H42Cl8 | 649.0432 | 10 | [M+Cl]
430_vLCCP_C24H42Cl8_[M-H] | vLCCP | C24H42Cl8 | 613.0666 | 10 | [M-H]
431_vLCCP_C24H41Cl9_[M+Cl] | vLCCP | C24H41Cl9 | 683.0042 | 10 | [M+Cl]
432_vLCCP_C24H41Cl9_[M-H] | vLCCP | C24H41Cl9 | 647.0276 | 10 | [M-H]
433_vLCCP_C24H40Cl10_[M+Cl] | vLCCP | C24H40Cl10 | 716.9652 | 10 | [M+Cl]
434_vLCCP_C24H40Cl10_[M-H] | vLCCP | C24H40Cl10 | 680.9886 | 10 | [M-H]
435_vLCCP_C24H39Cl11_[M+Cl] | vLCCP | C24H39Cl11 | 752.9234 | 10 | [M+Cl]
436_vLCCP_C24H39Cl11_[M-H] | vLCCP | C24H39Cl11 | 714.9496 | 10 | [M-H]
437_vLCCP_C24H38Cl12_[M+Cl] | vLCCP | C24H38Cl12 | 786.8844 | 10 | [M+Cl]
438_vLCCP_C24H38Cl12_[M-H] | vLCCP | C24H38Cl12 | 750.9078 | 10 | [M-H]
439_vLCCP_C24H37Cl13_[M+Cl] | vLCCP | C24H37Cl13 | 820.8454 | 10 | [M+Cl]
440_vLCCP_C24H37Cl13_[M-H] | vLCCP | C24H37Cl13 | 784.8688 | 10 | [M-H]
441_vLCCP_C24H36Cl14_[M+Cl] | vLCCP | C24H36Cl14 | 854.8064 | 10 | [M+Cl]
442_vLCCP_C24H36Cl14_[M-H] | vLCCP | C24H36Cl14 | 818.8298 | 10 | [M-H]
443_vLCCP_C24H35Cl15_[M+Cl] | vLCCP | C24H35Cl15 | 890.7646 | 10 | [M+Cl]
444_vLCCP_C24H35Cl15_[M-H] | vLCCP | C24H35Cl15 | 852.7908 | 10 | [M-H]
445_vLCCP_C24H34Cl16_[M+Cl] | vLCCP | C24H34Cl16 | 924.7256 | 10 | [M+Cl]
446_vLCCP_C24H34Cl16_[M-H] | vLCCP | C24H34Cl16 | 888.7489 | 10 | [M-H]
447_vLCCP_C24H33Cl17_[M+Cl] | vLCCP | C24H33Cl17 | 958.6866 | 10 | [M+Cl]
448_vLCCP_C24H33Cl17_[M-H] | vLCCP | C24H33Cl17 | 922.7099 | 10 | [M-H]
449_vLCCP_C24H32Cl18_[M+Cl] | vLCCP | C24H32Cl18 | 992.6476 | 10 | [M+Cl]
450_vLCCP_C24H32Cl18_[M-H] | vLCCP | C24H32Cl18 | 956.6709 | 10 | [M-H]
451_vLCCP_C24H31Cl19_[M+Cl] | vLCCP | C24H31Cl19 | 1028.6057 | 10 | [M+Cl]
452_vLCCP_C24H31Cl19_[M-H] | vLCCP | C24H31Cl19 | 990.632 | 10 | [M-H]
453_vLCCP_C24H30Cl20_[M+Cl] | vLCCP | C24H30Cl20 | 1062.5668 | 10 | [M+Cl]
454_vLCCP_C24H30Cl20_[M-H] | vLCCP | C24H30Cl20 | 1026.5901 | 10 | [M-H]
455_vLCCP_C24H29Cl21_[M+Cl] | vLCCP | C24H29Cl21 | 1096.5278 | 10 | [M+Cl]
456_vLCCP_C24H29Cl21_[M-H] | vLCCP | C24H29Cl21 | 1060.5511 | 10 | [M-H]
457_vLCCP_C24H28Cl22_[M+Cl] | vLCCP | C24H28Cl22 | 1130.4888 | 10 | [M+Cl]
458_vLCCP_C24H28Cl22_[M-H] | vLCCP | C24H28Cl22 | 1094.5121 | 10 | [M-H]
459_vLCCP_C24H27Cl23_[M+Cl] | vLCCP | C24H27Cl23 | 1166.4469 | 10 | [M+Cl]
460_vLCCP_C24H27Cl23_[M-H] | vLCCP | C24H27Cl23 | 1128.4731 | 10 | [M-H]
461_vLCCP_C24H26Cl24_[M+Cl] | vLCCP | C24H26Cl24 | 1200.4079 | 10 | [M+Cl]
462_vLCCP_C24H26Cl24_[M-H] | vLCCP | C24H26Cl24 | 1164.4313 | 10 | [M-H]
463_vLCCP_C24H25Cl25_[M+Cl] | vLCCP | C24H25Cl25 | 1234.3689 | 10 | [M+Cl]
464_vLCCP_C24H25Cl25_[M-H] | vLCCP | C24H25Cl25 | 1198.3923 | 10 | [M-H]
465_vLCCP_C25H48Cl4_[M+Cl] | vLCCP | C25H48Cl4 | 525.2177 | 10 | [M+Cl]
466_vLCCP_C25H48Cl4_[M-H] | vLCCP | C25H48Cl4 | 489.2411 | 10 | [M-H]
467_vLCCP_C25H47Cl5_[M+Cl] | vLCCP | C25H47Cl5 | 559.1787 | 10 | [M+Cl]
468_vLCCP_C25H47Cl5_[M-H] | vLCCP | C25H47Cl5 | 523.202 | 10 | [M-H]
469_vLCCP_C25H46Cl6_[M+Cl] | vLCCP | C25H46Cl6 | 593.1397 | 10 | [M+Cl]
470_vLCCP_C25H46Cl6_[M-H] | vLCCP | C25H46Cl6 | 557.163 | 10 | [M-H]
471_vLCCP_C25H45Cl7_[M+Cl] | vLCCP | C25H45Cl7 | 629.0979 | 10 | [M+Cl]
472_vLCCP_C25H45Cl7_[M-H] | vLCCP | C25H45Cl7 | 591.124 | 10 | [M-H]
473_vLCCP_C25H44Cl8_[M+Cl] | vLCCP | C25H44Cl8 | 663.0589 | 10 | [M+Cl]
474_vLCCP_C25H44Cl8_[M-H] | vLCCP | C25H44Cl8 | 627.0823 | 10 | [M-H]
475_vLCCP_C25H43Cl9_[M+Cl] | vLCCP | C25H43Cl9 | 697.0199 | 10 | [M+Cl]
476_vLCCP_C25H43Cl9_[M-H] | vLCCP | C25H43Cl9 | 661.0433 | 10 | [M-H]
477_vLCCP_C25H42Cl10_[M+Cl] | vLCCP | C25H42Cl10 | 730.9809 | 10 | [M+Cl]
478_vLCCP_C25H42Cl10_[M-H] | vLCCP | C25H42Cl10 | 695.0043 | 10 | [M-H]
479_vLCCP_C25H41Cl11_[M+Cl] | vLCCP | C25H41Cl11 | 766.9391 | 10 | [M+Cl]
480_vLCCP_C25H41Cl11_[M-H] | vLCCP | C25H41Cl11 | 728.9653 | 10 | [M-H]
481_vLCCP_C25H40Cl12_[M+Cl] | vLCCP | C25H40Cl12 | 800.9001 | 10 | [M+Cl]
482_vLCCP_C25H40Cl12_[M-H] | vLCCP | C25H40Cl12 | 764.9234 | 10 | [M-H]
483_vLCCP_C25H39Cl13_[M+Cl] | vLCCP | C25H39Cl13 | 834.8611 | 10 | [M+Cl]
484_vLCCP_C25H39Cl13_[M-H] | vLCCP | C25H39Cl13 | 798.8844 | 10 | [M-H]
485_vLCCP_C25H38Cl14_[M+Cl] | vLCCP | C25H38Cl14 | 868.8221 | 10 | [M+Cl]
486_vLCCP_C25H38Cl14_[M-H] | vLCCP | C25H38Cl14 | 832.8454 | 10 | [M-H]
487_vLCCP_C25H37Cl15_[M+Cl] | vLCCP | C25H37Cl15 | 904.7803 | 10 | [M+Cl]
488_vLCCP_C25H37Cl15_[M-H] | vLCCP | C25H37Cl15 | 866.8064 | 10 | [M-H]
489_vLCCP_C25H36Cl16_[M+Cl] | vLCCP | C25H36Cl16 | 938.7413 | 10 | [M+Cl]
490_vLCCP_C25H36Cl16_[M-H] | vLCCP | C25H36Cl16 | 902.7646 | 10 | [M-H]
491_vLCCP_C25H35Cl17_[M+Cl] | vLCCP | C25H35Cl17 | 972.7023 | 10 | [M+Cl]
492_vLCCP_C25H35Cl17_[M-H] | vLCCP | C25H35Cl17 | 936.7256 | 10 | [M-H]
493_vLCCP_C25H34Cl18_[M+Cl] | vLCCP | C25H34Cl18 | 1006.6633 | 10 | [M+Cl]
494_vLCCP_C25H34Cl18_[M-H] | vLCCP | C25H34Cl18 | 970.6866 | 10 | [M-H]
495_vLCCP_C25H33Cl19_[M+Cl] | vLCCP | C25H33Cl19 | 1042.6214 | 10 | [M+Cl]
496_vLCCP_C25H33Cl19_[M-H] | vLCCP | C25H33Cl19 | 1004.6476 | 10 | [M-H]
497_vLCCP_C25H32Cl20_[M+Cl] | vLCCP | C25H32Cl20 | 1076.5824 | 10 | [M+Cl]
498_vLCCP_C25H32Cl20_[M-H] | vLCCP | C25H32Cl20 | 1040.6058 | 10 | [M-H]
499_vLCCP_C25H31Cl21_[M+Cl] | vLCCP | C25H31Cl21 | 1110.5434 | 10 | [M+Cl]
500_vLCCP_C25H31Cl21_[M-H] | vLCCP | C25H31Cl21 | 1074.5668 | 10 | [M-H]
501_vLCCP_C25H30Cl22_[M+Cl] | vLCCP | C25H30Cl22 | 1144.5045 | 10 | [M+Cl]
502_vLCCP_C25H30Cl22_[M-H] | vLCCP | C25H30Cl22 | 1108.5278 | 10 | [M-H]
503_vLCCP_C25H29Cl23_[M+Cl] | vLCCP | C25H29Cl23 | 1180.4626 | 10 | [M+Cl]
504_vLCCP_C25H29Cl23_[M-H] | vLCCP | C25H29Cl23 | 1142.4888 | 10 | [M-H]
505_vLCCP_C25H28Cl24_[M+Cl] | vLCCP | C25H28Cl24 | 1214.4236 | 10 | [M+Cl]
506_vLCCP_C25H28Cl24_[M-H] | vLCCP | C25H28Cl24 | 1178.4469 | 10 | [M-H]
507_vLCCP_C25H27Cl25_[M+Cl] | vLCCP | C25H27Cl25 | 1248.3846 | 10 | [M+Cl]
508_vLCCP_C25H27Cl25_[M-H] | vLCCP | C25H27Cl25 | 1212.4079 | 10 | [M-H]
509_vLCCP_C25H26Cl26_[M+Cl] | vLCCP | C25H26Cl26 | 1282.3456 | 10 | [M+Cl]
510_vLCCP_C25H26Cl26_[M-H] | vLCCP | C25H26Cl26 | 1246.369 | 10 | [M-H]
511_vLCCP_C26H50Cl4_[M+Cl] | vLCCP | C26H50Cl4 | 539.2334 | 10 | [M+Cl]
512_vLCCP_C26H50Cl4_[M-H] | vLCCP | C26H50Cl4 | 503.2567 | 10 | [M-H]
513_vLCCP_C26H49Cl5_[M+Cl] | vLCCP | C26H49Cl5 | 573.1943 | 10 | [M+Cl]
514_vLCCP_C26H49Cl5_[M-H] | vLCCP | C26H49Cl5 | 537.2177 | 10 | [M-H]
515_vLCCP_C26H48Cl6_[M+Cl] | vLCCP | C26H48Cl6 | 607.1553 | 10 | [M+Cl]
516_vLCCP_C26H48Cl6_[M-H] | vLCCP | C26H48Cl6 | 571.1787 | 10 | [M-H]
517_vLCCP_C26H47Cl7_[M+Cl] | vLCCP | C26H47Cl7 | 643.1136 | 10 | [M+Cl]
518_vLCCP_C26H47Cl7_[M-H] | vLCCP | C26H47Cl7 | 605.1397 | 10 | [M-H]
519_vLCCP_C26H46Cl8_[M+Cl] | vLCCP | C26H46Cl8 | 677.0746 | 10 | [M+Cl]
520_vLCCP_C26H46Cl8_[M-H] | vLCCP | C26H46Cl8 | 641.0979 | 10 | [M-H]
521_vLCCP_C26H45Cl9_[M+Cl] | vLCCP | C26H45Cl9 | 711.0356 | 10 | [M+Cl]
522_vLCCP_C26H45Cl9_[M-H] | vLCCP | C26H45Cl9 | 675.0589 | 10 | [M-H]
523_vLCCP_C26H44Cl10_[M+Cl] | vLCCP | C26H44Cl10 | 744.9966 | 10 | [M+Cl]
524_vLCCP_C26H44Cl10_[M-H] | vLCCP | C26H44Cl10 | 709.0199 | 10 | [M-H]
525_vLCCP_C26H43Cl11_[M+Cl] | vLCCP | C26H43Cl11 | 780.9548 | 10 | [M+Cl]
526_vLCCP_C26H43Cl11_[M-H] | vLCCP | C26H43Cl11 | 742.9809 | 10 | [M-H]
527_vLCCP_C26H42Cl12_[M+Cl] | vLCCP | C26H42Cl12 | 814.9158 | 10 | [M+Cl]
528_vLCCP_C26H42Cl12_[M-H] | vLCCP | C26H42Cl12 | 778.9391 | 10 | [M-H]
529_vLCCP_C26H41Cl13_[M+Cl] | vLCCP | C26H41Cl13 | 848.8768 | 10 | [M+Cl]
530_vLCCP_C26H41Cl13_[M-H] | vLCCP | C26H41Cl13 | 812.9001 | 10 | [M-H]
531_vLCCP_C26H40Cl14_[M+Cl] | vLCCP | C26H40Cl14 | 882.8378 | 10 | [M+Cl]
532_vLCCP_C26H40Cl14_[M-H] | vLCCP | C26H40Cl14 | 846.8611 | 10 | [M-H]
533_vLCCP_C26H39Cl15_[M+Cl] | vLCCP | C26H39Cl15 | 918.7959 | 10 | [M+Cl]
534_vLCCP_C26H39Cl15_[M-H] | vLCCP | C26H39Cl15 | 880.8221 | 10 | [M-H]
535_vLCCP_C26H38Cl16_[M+Cl] | vLCCP | C26H38Cl16 | 952.7569 | 10 | [M+Cl]
536_vLCCP_C26H38Cl16_[M-H] | vLCCP | C26H38Cl16 | 916.7803 | 10 | [M-H]
537_vLCCP_C26H37Cl17_[M+Cl] | vLCCP | C26H37Cl17 | 986.7179 | 10 | [M+Cl]
538_vLCCP_C26H37Cl17_[M-H] | vLCCP | C26H37Cl17 | 950.7413 | 10 | [M-H]
539_vLCCP_C26H36Cl18_[M+Cl] | vLCCP | C26H36Cl18 | 1020.679 | 10 | [M+Cl]
540_vLCCP_C26H36Cl18_[M-H] | vLCCP | C26H36Cl18 | 984.7023 | 10 | [M-H]
541_vLCCP_C26H35Cl19_[M+Cl] | vLCCP | C26H35Cl19 | 1056.6371 | 10 | [M+Cl]
542_vLCCP_C26H35Cl19_[M-H] | vLCCP | C26H35Cl19 | 1018.6633 | 10 | [M-H]
543_vLCCP_C26H34Cl20_[M+Cl] | vLCCP | C26H34Cl20 | 1090.5981 | 10 | [M+Cl]
544_vLCCP_C26H34Cl20_[M-H] | vLCCP | C26H34Cl20 | 1054.6215 | 10 | [M-H]
545_vLCCP_C26H33Cl21_[M+Cl] | vLCCP | C26H33Cl21 | 1124.5591 | 10 | [M+Cl]
546_vLCCP_C26H33Cl21_[M-H] | vLCCP | C26H33Cl21 | 1088.5825 | 10 | [M-H]
547_vLCCP_C26H32Cl22_[M+Cl] | vLCCP | C26H32Cl22 | 1158.5201 | 10 | [M+Cl]
548_vLCCP_C26H32Cl22_[M-H] | vLCCP | C26H32Cl22 | 1122.5435 | 10 | [M-H]
549_vLCCP_C26H31Cl23_[M+Cl] | vLCCP | C26H31Cl23 | 1194.4783 | 10 | [M+Cl]
550_vLCCP_C26H31Cl23_[M-H] | vLCCP | C26H31Cl23 | 1156.5045 | 10 | [M-H]
551_vLCCP_C26H30Cl24_[M+Cl] | vLCCP | C26H30Cl24 | 1228.4393 | 10 | [M+Cl]
552_vLCCP_C26H30Cl24_[M-H] | vLCCP | C26H30Cl24 | 1192.4626 | 10 | [M-H]
553_vLCCP_C26H29Cl25_[M+Cl] | vLCCP | C26H29Cl25 | 1262.4003 | 10 | [M+Cl]
554_vLCCP_C26H29Cl25_[M-H] | vLCCP | C26H29Cl25 | 1226.4236 | 10 | [M-H]
555_vLCCP_C26H28Cl26_[M+Cl] | vLCCP | C26H28Cl26 | 1296.3613 | 10 | [M+Cl]
556_vLCCP_C26H28Cl26_[M-H] | vLCCP | C26H28Cl26 | 1260.3846 | 10 | [M-H]
557_vLCCP_C26H27Cl27_[M+Cl] | vLCCP | C26H27Cl27 | 1332.3194 | 10 | [M+Cl]
558_vLCCP_C26H27Cl27_[M-H] | vLCCP | C26H27Cl27 | 1294.3456 | 10 | [M-H]
559_vLCCP_C27H52Cl4_[M+Cl] | vLCCP | C27H52Cl4 | 553.249 | 10 | [M+Cl]
560_vLCCP_C27H52Cl4_[M-H] | vLCCP | C27H52Cl4 | 517.2724 | 10 | [M-H]
561_vLCCP_C27H51Cl5_[M+Cl] | vLCCP | C27H51Cl5 | 587.21 | 10 | [M+Cl]
562_vLCCP_C27H51Cl5_[M-H] | vLCCP | C27H51Cl5 | 551.2334 | 10 | [M-H]
563_vLCCP_C27H50Cl6_[M+Cl] | vLCCP | C27H50Cl6 | 621.171 | 10 | [M+Cl]
564_vLCCP_C27H50Cl6_[M-H] | vLCCP | C27H50Cl6 | 585.1944 | 10 | [M-H]
565_vLCCP_C27H49Cl7_[M+Cl] | vLCCP | C27H49Cl7 | 657.1293 | 10 | [M+Cl]
566_vLCCP_C27H49Cl7_[M-H] | vLCCP | C27H49Cl7 | 619.1554 | 10 | [M-H]
567_vLCCP_C27H48Cl8_[M+Cl] | vLCCP | C27H48Cl8 | 691.0903 | 10 | [M+Cl]
568_vLCCP_C27H48Cl8_[M-H] | vLCCP | C27H48Cl8 | 655.1136 | 10 | [M-H]
569_vLCCP_C27H47Cl9_[M+Cl] | vLCCP | C27H47Cl9 | 725.0512 | 10 | [M+Cl]
570_vLCCP_C27H47Cl9_[M-H] | vLCCP | C27H47Cl9 | 689.0746 | 10 | [M-H]
571_vLCCP_C27H46Cl10_[M+Cl] | vLCCP | C27H46Cl10 | 759.0122 | 10 | [M+Cl]
572_vLCCP_C27H46Cl10_[M-H] | vLCCP | C27H46Cl10 | 723.0356 | 10 | [M-H]
573_vLCCP_C27H45Cl11_[M+Cl] | vLCCP | C27H45Cl11 | 794.9704 | 10 | [M+Cl]
574_vLCCP_C27H45Cl11_[M-H] | vLCCP | C27H45Cl11 | 756.9966 | 10 | [M-H]
575_vLCCP_C27H44Cl12_[M+Cl] | vLCCP | C27H44Cl12 | 828.9314 | 10 | [M+Cl]
576_vLCCP_C27H44Cl12_[M-H] | vLCCP | C27H44Cl12 | 792.9548 | 10 | [M-H]
577_vLCCP_C27H43Cl13_[M+Cl] | vLCCP | C27H43Cl13 | 862.8924 | 10 | [M+Cl]
578_vLCCP_C27H43Cl13_[M-H] | vLCCP | C27H43Cl13 | 826.9158 | 10 | [M-H]
579_vLCCP_C27H42Cl14_[M+Cl] | vLCCP | C27H42Cl14 | 896.8534 | 10 | [M+Cl]
580_vLCCP_C27H42Cl14_[M-H] | vLCCP | C27H42Cl14 | 860.8768 | 10 | [M-H]
581_vLCCP_C27H41Cl15_[M+Cl] | vLCCP | C27H41Cl15 | 932.8116 | 10 | [M+Cl]
582_vLCCP_C27H41Cl15_[M-H] | vLCCP | C27H41Cl15 | 894.8378 | 10 | [M-H]
583_vLCCP_C27H40Cl16_[M+Cl] | vLCCP | C27H40Cl16 | 966.7726 | 10 | [M+Cl]
584_vLCCP_C27H40Cl16_[M-H] | vLCCP | C27H40Cl16 | 930.796 | 10 | [M-H]
585_vLCCP_C27H39Cl17_[M+Cl] | vLCCP | C27H39Cl17 | 1000.7336 | 10 | [M+Cl]
586_vLCCP_C27H39Cl17_[M-H] | vLCCP | C27H39Cl17 | 964.757 | 10 | [M-H]
587_vLCCP_C27H38Cl18_[M+Cl] | vLCCP | C27H38Cl18 | 1034.6946 | 10 | [M+Cl]
588_vLCCP_C27H38Cl18_[M-H] | vLCCP | C27H38Cl18 | 998.718 | 10 | [M-H]
589_vLCCP_C27H37Cl19_[M+Cl] | vLCCP | C27H37Cl19 | 1070.6528 | 10 | [M+Cl]
590_vLCCP_C27H37Cl19_[M-H] | vLCCP | C27H37Cl19 | 1032.679 | 10 | [M-H]
591_vLCCP_C27H36Cl20_[M+Cl] | vLCCP | C27H36Cl20 | 1104.6138 | 10 | [M+Cl]
592_vLCCP_C27H36Cl20_[M-H] | vLCCP | C27H36Cl20 | 1068.6371 | 10 | [M-H]
593_vLCCP_C27H35Cl21_[M+Cl] | vLCCP | C27H35Cl21 | 1138.5748 | 10 | [M+Cl]
594_vLCCP_C27H35Cl21_[M-H] | vLCCP | C27H35Cl21 | 1102.5981 | 10 | [M-H]
595_vLCCP_C27H34Cl22_[M+Cl] | vLCCP | C27H34Cl22 | 1172.5358 | 10 | [M+Cl]
596_vLCCP_C27H34Cl22_[M-H] | vLCCP | C27H34Cl22 | 1136.5591 | 10 | [M-H]
597_vLCCP_C27H33Cl23_[M+Cl] | vLCCP | C27H33Cl23 | 1208.4939 | 10 | [M+Cl]
598_vLCCP_C27H33Cl23_[M-H] | vLCCP | C27H33Cl23 | 1170.5202 | 10 | [M-H]
599_vLCCP_C27H32Cl24_[M+Cl] | vLCCP | C27H32Cl24 | 1242.455 | 10 | [M+Cl]
600_vLCCP_C27H32Cl24_[M-H] | vLCCP | C27H32Cl24 | 1206.4783 | 10 | [M-H]
601_vLCCP_C27H31Cl25_[M+Cl] | vLCCP | C27H31Cl25 | 1276.416 | 10 | [M+Cl]
602_vLCCP_C27H31Cl25_[M-H] | vLCCP | C27H31Cl25 | 1240.4393 | 10 | [M-H]
603_vLCCP_C27H30Cl26_[M+Cl] | vLCCP | C27H30Cl26 | 1310.377 | 10 | [M+Cl]
604_vLCCP_C27H30Cl26_[M-H] | vLCCP | C27H30Cl26 | 1274.4003 | 10 | [M-H]
605_vLCCP_C27H29Cl27_[M+Cl] | vLCCP | C27H29Cl27 | 1346.3351 | 10 | [M+Cl]
606_vLCCP_C27H29Cl27_[M-H] | vLCCP | C27H29Cl27 | 1308.3613 | 10 | [M-H]
607_vLCCP_C27H28Cl28_[M+Cl] | vLCCP | C27H28Cl28 | 1380.2961 | 10 | [M+Cl]
608_vLCCP_C27H28Cl28_[M-H] | vLCCP | C27H28Cl28 | 1344.3195 | 10 | [M-H]
609_vLCCP_C28H54Cl4_[M+Cl] | vLCCP | C28H54Cl4 | 567.2647 | 10 | [M+Cl]
610_vLCCP_C28H54Cl4_[M-H] | vLCCP | C28H54Cl4 | 531.2881 | 10 | [M-H]
611_vLCCP_C28H53Cl5_[M+Cl] | vLCCP | C28H53Cl5 | 601.2257 | 10 | [M+Cl]
612_vLCCP_C28H53Cl5_[M-H] | vLCCP | C28H53Cl5 | 565.249 | 10 | [M-H]
613_vLCCP_C28H52Cl6_[M+Cl] | vLCCP | C28H52Cl6 | 635.1867 | 10 | [M+Cl]
614_vLCCP_C28H52Cl6_[M-H] | vLCCP | C28H52Cl6 | 599.21 | 10 | [M-H]
615_vLCCP_C28H51Cl7_[M+Cl] | vLCCP | C28H51Cl7 | 671.1449 | 10 | [M+Cl]
616_vLCCP_C28H51Cl7_[M-H] | vLCCP | C28H51Cl7 | 633.171 | 10 | [M-H]
617_vLCCP_C28H50Cl8_[M+Cl] | vLCCP | C28H50Cl8 | 705.1059 | 10 | [M+Cl]
618_vLCCP_C28H50Cl8_[M-H] | vLCCP | C28H50Cl8 | 669.1293 | 10 | [M-H]
619_vLCCP_C28H49Cl9_[M+Cl] | vLCCP | C28H49Cl9 | 739.0669 | 10 | [M+Cl]
620_vLCCP_C28H49Cl9_[M-H] | vLCCP | C28H49Cl9 | 703.0903 | 10 | [M-H]
621_vLCCP_C28H48Cl10_[M+Cl] | vLCCP | C28H48Cl10 | 773.0279 | 10 | [M+Cl]
622_vLCCP_C28H48Cl10_[M-H] | vLCCP | C28H48Cl10 | 737.0513 | 10 | [M-H]
623_vLCCP_C28H47Cl11_[M+Cl] | vLCCP | C28H47Cl11 | 808.9861 | 10 | [M+Cl]
624_vLCCP_C28H47Cl11_[M-H] | vLCCP | C28H47Cl11 | 771.0123 | 10 | [M-H]
625_vLCCP_C28H46Cl12_[M+Cl] | vLCCP | C28H46Cl12 | 842.9471 | 10 | [M+Cl]
626_vLCCP_C28H46Cl12_[M-H] | vLCCP | C28H46Cl12 | 806.9705 | 10 | [M-H]
627_vLCCP_C28H45Cl13_[M+Cl] | vLCCP | C28H45Cl13 | 876.9081 | 10 | [M+Cl]
628_vLCCP_C28H45Cl13_[M-H] | vLCCP | C28H45Cl13 | 840.9315 | 10 | [M-H]
629_vLCCP_C28H44Cl14_[M+Cl] | vLCCP | C28H44Cl14 | 910.8691 | 10 | [M+Cl]
630_vLCCP_C28H44Cl14_[M-H] | vLCCP | C28H44Cl14 | 874.8925 | 10 | [M-H]
631_vLCCP_C28H43Cl15_[M+Cl] | vLCCP | C28H43Cl15 | 946.8273 | 10 | [M+Cl]
632_vLCCP_C28H43Cl15_[M-H] | vLCCP | C28H43Cl15 | 908.8535 | 10 | [M-H]
633_vLCCP_C28H42Cl16_[M+Cl] | vLCCP | C28H42Cl16 | 980.7883 | 10 | [M+Cl]
634_vLCCP_C28H42Cl16_[M-H] | vLCCP | C28H42Cl16 | 944.8116 | 10 | [M-H]
635_vLCCP_C28H41Cl17_[M+Cl] | vLCCP | C28H41Cl17 | 1014.7493 | 10 | [M+Cl]
636_vLCCP_C28H41Cl17_[M-H] | vLCCP | C28H41Cl17 | 978.7726 | 10 | [M-H]
637_vLCCP_C28H40Cl18_[M+Cl] | vLCCP | C28H40Cl18 | 1048.7103 | 10 | [M+Cl]
638_vLCCP_C28H40Cl18_[M-H] | vLCCP | C28H40Cl18 | 1012.7336 | 10 | [M-H]
639_vLCCP_C28H39Cl19_[M+Cl] | vLCCP | C28H39Cl19 | 1084.6685 | 10 | [M+Cl]
640_vLCCP_C28H39Cl19_[M-H] | vLCCP | C28H39Cl19 | 1046.6946 | 10 | [M-H]
641_vLCCP_C28H38Cl20_[M+Cl] | vLCCP | C28H38Cl20 | 1118.6295 | 10 | [M+Cl]
642_vLCCP_C28H38Cl20_[M-H] | vLCCP | C28H38Cl20 | 1082.6528 | 10 | [M-H]
643_vLCCP_C28H37Cl21_[M+Cl] | vLCCP | C28H37Cl21 | 1152.5905 | 10 | [M+Cl]
644_vLCCP_C28H37Cl21_[M-H] | vLCCP | C28H37Cl21 | 1116.6138 | 10 | [M-H]
645_vLCCP_C28H36Cl22_[M+Cl] | vLCCP | C28H36Cl22 | 1186.5515 | 10 | [M+Cl]
646_vLCCP_C28H36Cl22_[M-H] | vLCCP | C28H36Cl22 | 1150.5748 | 10 | [M-H]
647_vLCCP_C28H35Cl23_[M+Cl] | vLCCP | C28H35Cl23 | 1222.5096 | 10 | [M+Cl]
648_vLCCP_C28H35Cl23_[M-H] | vLCCP | C28H35Cl23 | 1184.5358 | 10 | [M-H]
649_vLCCP_C28H34Cl24_[M+Cl] | vLCCP | C28H34Cl24 | 1256.4706 | 10 | [M+Cl]
650_vLCCP_C28H34Cl24_[M-H] | vLCCP | C28H34Cl24 | 1220.494 | 10 | [M-H]
651_vLCCP_C28H33Cl25_[M+Cl] | vLCCP | C28H33Cl25 | 1290.4316 | 10 | [M+Cl]
652_vLCCP_C28H33Cl25_[M-H] | vLCCP | C28H33Cl25 | 1254.455 | 10 | [M-H]
653_vLCCP_C28H32Cl26_[M+Cl] | vLCCP | C28H32Cl26 | 1324.3926 | 10 | [M+Cl]
654_vLCCP_C28H32Cl26_[M-H] | vLCCP | C28H32Cl26 | 1288.416 | 10 | [M-H]
655_vLCCP_C28H31Cl27_[M+Cl] | vLCCP | C28H31Cl27 | 1360.3508 | 10 | [M+Cl]
656_vLCCP_C28H31Cl27_[M-H] | vLCCP | C28H31Cl27 | 1322.377 | 10 | [M-H]
657_vLCCP_C28H30Cl28_[M+Cl] | vLCCP | C28H30Cl28 | 1394.3118 | 10 | [M+Cl]
658_vLCCP_C28H30Cl28_[M-H] | vLCCP | C28H30Cl28 | 1358.3351 | 10 | [M-H]
659_vLCCP_C28H29Cl29_[M+Cl] | vLCCP | C28H29Cl29 | 1428.2728 | 10 | [M+Cl]
660_vLCCP_C28H29Cl29_[M-H] | vLCCP | C28H29Cl29 | 1392.2961 | 10 | [M-H]
661_vLCCP_C29H56Cl4_[M+Cl] | vLCCP | C29H56Cl4 | 581.2804 | 10 | [M+Cl]
662_vLCCP_C29H56Cl4_[M-H] | vLCCP | C29H56Cl4 | 545.3038 | 10 | [M-H]
663_vLCCP_C29H55Cl5_[M+Cl] | vLCCP | C29H55Cl5 | 615.2413 | 10 | [M+Cl]
664_vLCCP_C29H55Cl5_[M-H] | vLCCP | C29H55Cl5 | 579.2647 | 10 | [M-H]
665_vLCCP_C29H54Cl6_[M+Cl] | vLCCP | C29H54Cl6 | 649.2023 | 10 | [M+Cl]
666_vLCCP_C29H54Cl6_[M-H] | vLCCP | C29H54Cl6 | 613.2257 | 10 | [M-H]
667_vLCCP_C29H53Cl7_[M+Cl] | vLCCP | C29H53Cl7 | 685.1606 | 10 | [M+Cl]
668_vLCCP_C29H53Cl7_[M-H] | vLCCP | C29H53Cl7 | 647.1867 | 10 | [M-H]
669_vLCCP_C29H52Cl8_[M+Cl] | vLCCP | C29H52Cl8 | 719.1216 | 10 | [M+Cl]
670_vLCCP_C29H52Cl8_[M-H] | vLCCP | C29H52Cl8 | 683.145 | 10 | [M-H]
671_vLCCP_C29H51Cl9_[M+Cl] | vLCCP | C29H51Cl9 | 753.0826 | 10 | [M+Cl]
672_vLCCP_C29H51Cl9_[M-H] | vLCCP | C29H51Cl9 | 717.106 | 10 | [M-H]
673_vLCCP_C29H50Cl10_[M+Cl] | vLCCP | C29H50Cl10 | 787.0436 | 10 | [M+Cl]
674_vLCCP_C29H50Cl10_[M-H] | vLCCP | C29H50Cl10 | 751.0669 | 10 | [M-H]
675_vLCCP_C29H49Cl11_[M+Cl] | vLCCP | C29H49Cl11 | 823.0018 | 10 | [M+Cl]
676_vLCCP_C29H49Cl11_[M-H] | vLCCP | C29H49Cl11 | 785.0279 | 10 | [M-H]
677_vLCCP_C29H48Cl12_[M+Cl] | vLCCP | C29H48Cl12 | 856.9628 | 10 | [M+Cl]
678_vLCCP_C29H48Cl12_[M-H] | vLCCP | C29H48Cl12 | 820.9862 | 10 | [M-H]
679_vLCCP_C29H47Cl13_[M+Cl] | vLCCP | C29H47Cl13 | 890.9238 | 10 | [M+Cl]
680_vLCCP_C29H47Cl13_[M-H] | vLCCP | C29H47Cl13 | 854.9471 | 10 | [M-H]
681_vLCCP_C29H46Cl14_[M+Cl] | vLCCP | C29H46Cl14 | 926.882 | 10 | [M+Cl]
682_vLCCP_C29H46Cl14_[M-H] | vLCCP | C29H46Cl14 | 888.9081 | 10 | [M-H]
683_vLCCP_C29H45Cl15_[M+Cl] | vLCCP | C29H45Cl15 | 960.843 | 10 | [M+Cl]
684_vLCCP_C29H45Cl15_[M-H] | vLCCP | C29H45Cl15 | 924.8663 | 10 | [M-H]
685_vLCCP_C29H44Cl16_[M+Cl] | vLCCP | C29H44Cl16 | 994.804 | 10 | [M+Cl]
686_vLCCP_C29H44Cl16_[M-H] | vLCCP | C29H44Cl16 | 958.8273 | 10 | [M-H]
687_vLCCP_C29H43Cl17_[M+Cl] | vLCCP | C29H43Cl17 | 1028.765 | 10 | [M+Cl]
688_vLCCP_C29H43Cl17_[M-H] | vLCCP | C29H43Cl17 | 992.7883 | 10 | [M-H]
689_vLCCP_C29H42Cl18_[M+Cl] | vLCCP | C29H42Cl18 | 1062.726 | 10 | [M+Cl]
690_vLCCP_C29H42Cl18_[M-H] | vLCCP | C29H42Cl18 | 1026.7493 | 10 | [M-H]
691_vLCCP_C29H41Cl19_[M+Cl] | vLCCP | C29H41Cl19 | 1098.6841 | 10 | [M+Cl]
692_vLCCP_C29H41Cl19_[M-H] | vLCCP | C29H41Cl19 | 1060.7103 | 10 | [M-H]
693_vLCCP_C29H40Cl20_[M+Cl] | vLCCP | C29H40Cl20 | 1132.6451 | 10 | [M+Cl]
694_vLCCP_C29H40Cl20_[M-H] | vLCCP | C29H40Cl20 | 1096.6685 | 10 | [M-H]
695_vLCCP_C29H39Cl21_[M+Cl] | vLCCP | C29H39Cl21 | 1166.6061 | 10 | [M+Cl]
696_vLCCP_C29H39Cl21_[M-H] | vLCCP | C29H39Cl21 | 1130.6295 | 10 | [M-H]
697_vLCCP_C29H38Cl22_[M+Cl] | vLCCP | C29H38Cl22 | 1200.5672 | 10 | [M+Cl]
698_vLCCP_C29H38Cl22_[M-H] | vLCCP | C29H38Cl22 | 1164.5905 | 10 | [M-H]
699_vLCCP_C29H37Cl23_[M+Cl] | vLCCP | C29H37Cl23 | 1236.5253 | 10 | [M+Cl]
700_vLCCP_C29H37Cl23_[M-H] | vLCCP | C29H37Cl23 | 1198.5515 | 10 | [M-H]
701_vLCCP_C29H36Cl24_[M+Cl] | vLCCP | C29H36Cl24 | 1270.4863 | 10 | [M+Cl]
702_vLCCP_C29H36Cl24_[M-H] | vLCCP | C29H36Cl24 | 1234.5097 | 10 | [M-H]
703_vLCCP_C29H35Cl25_[M+Cl] | vLCCP | C29H35Cl25 | 1304.4473 | 10 | [M+Cl]
704_vLCCP_C29H35Cl25_[M-H] | vLCCP | C29H35Cl25 | 1268.4707 | 10 | [M-H]
705_vLCCP_C29H34Cl26_[M+Cl] | vLCCP | C29H34Cl26 | 1338.4083 | 10 | [M+Cl]
706_vLCCP_C29H34Cl26_[M-H] | vLCCP | C29H34Cl26 | 1302.4317 | 10 | [M-H]
707_vLCCP_C29H33Cl27_[M+Cl] | vLCCP | C29H33Cl27 | 1374.3665 | 10 | [M+Cl]
708_vLCCP_C29H33Cl27_[M-H] | vLCCP | C29H33Cl27 | 1336.3927 | 10 | [M-H]
709_vLCCP_C29H32Cl28_[M+Cl] | vLCCP | C29H32Cl28 | 1408.3275 | 10 | [M+Cl]
710_vLCCP_C29H32Cl28_[M-H] | vLCCP | C29H32Cl28 | 1372.3508 | 10 | [M-H]
711_vLCCP_C29H31Cl29_[M+Cl] | vLCCP | C29H31Cl29 | 1442.2885 | 10 | [M+Cl]
712_vLCCP_C29H31Cl29_[M-H] | vLCCP | C29H31Cl29 | 1406.3118 | 10 | [M-H]
713_vLCCP_C29H30Cl30_[M+Cl] | vLCCP | C29H30Cl30 | 1476.2495 | 10 | [M+Cl]
714_vLCCP_C29H30Cl30_[M-H] | vLCCP | C29H30Cl30 | 1440.2728 | 10 | [M-H]
715_vLCCP_C30H58Cl4_[M+Cl] | vLCCP | C30H58Cl4 | 595.296 | 10 | [M+Cl]
716_vLCCP_C30H58Cl4_[M-H] | vLCCP | C30H58Cl4 | 559.3194 | 10 | [M-H]
717_vLCCP_C30H57Cl5_[M+Cl] | vLCCP | C30H57Cl5 | 629.257 | 10 | [M+Cl]
718_vLCCP_C30H57Cl5_[M-H] | vLCCP | C30H57Cl5 | 593.2804 | 10 | [M-H]
719_vLCCP_C30H56Cl6_[M+Cl] | vLCCP | C30H56Cl6 | 663.218 | 10 | [M+Cl]
720_vLCCP_C30H56Cl6_[M-H] | vLCCP | C30H56Cl6 | 627.2414 | 10 | [M-H]
721_vLCCP_C30H55Cl7_[M+Cl] | vLCCP | C30H55Cl7 | 699.1763 | 10 | [M+Cl]
722_vLCCP_C30H55Cl7_[M-H] | vLCCP | C30H55Cl7 | 661.2024 | 10 | [M-H]
723_vLCCP_C30H54Cl8_[M+Cl] | vLCCP | C30H54Cl8 | 733.1373 | 10 | [M+Cl]
724_vLCCP_C30H54Cl8_[M-H] | vLCCP | C30H54Cl8 | 697.1607 | 10 | [M-H]
725_vLCCP_C30H53Cl9_[M+Cl] | vLCCP | C30H53Cl9 | 767.0983 | 10 | [M+Cl]
726_vLCCP_C30H53Cl9_[M-H] | vLCCP | C30H53Cl9 | 731.1216 | 10 | [M-H]
727_vLCCP_C30H52Cl10_[M+Cl] | vLCCP | C30H52Cl10 | 801.0593 | 10 | [M+Cl]
728_vLCCP_C30H52Cl10_[M-H] | vLCCP | C30H52Cl10 | 765.0826 | 10 | [M-H]
729_vLCCP_C30H51Cl11_[M+Cl] | vLCCP | C30H51Cl11 | 837.0175 | 10 | [M+Cl]
730_vLCCP_C30H51Cl11_[M-H] | vLCCP | C30H51Cl11 | 799.0436 | 10 | [M-H]
731_vLCCP_C30H50Cl12_[M+Cl] | vLCCP | C30H50Cl12 | 870.9785 | 10 | [M+Cl]
732_vLCCP_C30H50Cl12_[M-H] | vLCCP | C30H50Cl12 | 835.0018 | 10 | [M-H]
733_vLCCP_C30H49Cl13_[M+Cl] | vLCCP | C30H49Cl13 | 904.9395 | 10 | [M+Cl]
734_vLCCP_C30H49Cl13_[M-H] | vLCCP | C30H49Cl13 | 868.9628 | 10 | [M-H]
735_vLCCP_C30H48Cl14_[M+Cl] | vLCCP | C30H48Cl14 | 938.9005 | 10 | [M+Cl]
736_vLCCP_C30H48Cl14_[M-H] | vLCCP | C30H48Cl14 | 902.9238 | 10 | [M-H]
737_vLCCP_C30H47Cl15_[M+Cl] | vLCCP | C30H47Cl15 | 974.8587 | 10 | [M+Cl]
738_vLCCP_C30H47Cl15_[M-H] | vLCCP | C30H47Cl15 | 936.8848 | 10 | [M-H]
739_vLCCP_C30H46Cl16_[M+Cl] | vLCCP | C30H46Cl16 | 1008.8197 | 10 | [M+Cl]
740_vLCCP_C30H46Cl16_[M-H] | vLCCP | C30H46Cl16 | 972.843 | 10 | [M-H]
741_vLCCP_C30H45Cl17_[M+Cl] | vLCCP | C30H45Cl17 | 1042.7806 | 10 | [M+Cl]
742_vLCCP_C30H45Cl17_[M-H] | vLCCP | C30H45Cl17 | 1006.804 | 10 | [M-H]
743_vLCCP_C30H44Cl18_[M+Cl] | vLCCP | C30H44Cl18 | 1076.7417 | 10 | [M+Cl]
744_vLCCP_C30H44Cl18_[M-H] | vLCCP | C30H44Cl18 | 1040.765 | 10 | [M-H]
745_vLCCP_C30H43Cl19_[M+Cl] | vLCCP | C30H43Cl19 | 1112.6998 | 10 | [M+Cl]
746_vLCCP_C30H43Cl19_[M-H] | vLCCP | C30H43Cl19 | 1074.726 | 10 | [M-H]
747_vLCCP_C30H42Cl20_[M+Cl] | vLCCP | C30H42Cl20 | 1146.6608 | 10 | [M+Cl]
748_vLCCP_C30H42Cl20_[M-H] | vLCCP | C30H42Cl20 | 1110.6842 | 10 | [M-H]
749_vLCCP_C30H41Cl21_[M+Cl] | vLCCP | C30H41Cl21 | 1180.6218 | 10 | [M+Cl]
750_vLCCP_C30H41Cl21_[M-H] | vLCCP | C30H41Cl21 | 1144.6452 | 10 | [M-H]
751_vLCCP_C30H40Cl22_[M+Cl] | vLCCP | C30H40Cl22 | 1214.5828 | 10 | [M+Cl]
752_vLCCP_C30H40Cl22_[M-H] | vLCCP | C30H40Cl22 | 1178.6062 | 10 | [M-H]
753_vLCCP_C30H39Cl23_[M+Cl] | vLCCP | C30H39Cl23 | 1250.541 | 10 | [M+Cl]
754_vLCCP_C30H39Cl23_[M-H] | vLCCP | C30H39Cl23 | 1212.5672 | 10 | [M-H]
755_vLCCP_C30H38Cl24_[M+Cl] | vLCCP | C30H38Cl24 | 1284.502 | 10 | [M+Cl]
756_vLCCP_C30H38Cl24_[M-H] | vLCCP | C30H38Cl24 | 1248.5253 | 10 | [M-H]
757_vLCCP_C30H37Cl25_[M+Cl] | vLCCP | C30H37Cl25 | 1318.463 | 10 | [M+Cl]
758_vLCCP_C30H37Cl25_[M-H] | vLCCP | C30H37Cl25 | 1282.4863 | 10 | [M-H]
759_vLCCP_C30H36Cl26_[M+Cl] | vLCCP | C30H36Cl26 | 1352.424 | 10 | [M+Cl]
760_vLCCP_C30H36Cl26_[M-H] | vLCCP | C30H36Cl26 | 1316.4473 | 10 | [M-H]
761_vLCCP_C30H35Cl27_[M+Cl] | vLCCP | C30H35Cl27 | 1388.3822 | 10 | [M+Cl]
762_vLCCP_C30H35Cl27_[M-H] | vLCCP | C30H35Cl27 | 1350.4084 | 10 | [M-H]
763_vLCCP_C30H34Cl28_[M+Cl] | vLCCP | C30H34Cl28 | 1422.3432 | 10 | [M+Cl]
764_vLCCP_C30H34Cl28_[M-H] | vLCCP | C30H34Cl28 | 1386.3665 | 10 | [M-H]
765_vLCCP_C30H33Cl29_[M+Cl] | vLCCP | C30H33Cl29 | 1456.3042 | 10 | [M+Cl]
766_vLCCP_C30H33Cl29_[M-H] | vLCCP | C30H33Cl29 | 1420.3275 | 10 | [M-H]
767_vLCCP_C30H32Cl30_[M+Cl] | vLCCP | C30H32Cl30 | 1490.2652 | 10 | [M+Cl]
768_vLCCP_C30H32Cl30_[M-H] | vLCCP | C30H32Cl30 | 1454.2885 | 10 | [M-H]
769_vLCCP_C30H31Cl31_[M+Cl] | vLCCP | C30H31Cl31 | 1526.2233 | 10 | [M+Cl]
770_vLCCP_C30H31Cl31_[M-H] | vLCCP | C30H31Cl31 | 1488.2495 | 10 | [M-H]

## Blank_ref
Sample.name | Blank.sample
Procedure blank | Procedure blank
A1
A2
A3
B1
B2
B3
C1
C2
C3
Lard B | Procedure blank
Lard D | Procedure blank
Pork 1 | Procedure blank
Pork 2 | Procedure blank
Pork 3 | Procedure blank
A2
A3
B1
B2
B3
C1
C2
C3
D1
D2
D3

## Information
Sheet name: "Sequence"
Contains following columns:
Replicate | Sample.name | Sample.type
List of sample filenames, which are shown in the Skyline export column "Replicate" | Shorter sample names that are assigned for each file name and used thoughout the whole Rstats processing pipeline. | Sample type: "Blank", "Calibration", "QC" or "Sample"
Sheet name: "Calibration_info"
Contains following columns:
Sample.name | Calibration.level | Calibration.type | Chain.length.info
The same sample name as assigned in sheet "Sequence". | Concentration of the calibration sample. In this example the units are ng/µL. | Calibration type name, e.g., "Cal A", "Cal B", etc. This allows to label different calibrant mixtures that are used to construct Cl% degree dependant response factor curves. | Information about which chain length standards are found in each calibration mixture. For example, if calibration contains both SCCPs and MCCPs across all chain lenghts than this column must contain "10_11_12_13_14_15_16_17". However, if a calibration mixture is lacking a particlar chain lenght, e.g., there is no C16 chain-length standard present, then the cell must contain "10_11_12_13_14_15_17". Or, if only SCCPs are present, then the cell contains "10_11_12_13".
Sheet name: "Most_abundant"
Contains following columns:
row.identity | compound.class | molecular.formula | m.z | retention.time | adduct
Adduct specific code for each compound that is constructed as follows: "XXX_compound.class_molecular.formula_adduct", where XXX is 3-digit number from 000 to 999; compound.class, molecular.formula and adductcontains the infromation as the corresponding columns with the same name. For example: "019_SCCP_C10H16Cl6_[M+Cl]" | Compound class: "InternalStandard", "vSCCP", "SCCP", "MCCP", "LCCP" or "vLCCP" | Molecular formula. In case 13C labelled compounds are used then C' is used to denote 13-Carbon. For example, 13^C10H16Cl6 is written as "C'10Cl6H16" | m/z of ionized molecule (adduct). This value is automatically calculated in Skyline sowftware and can be obtained by exporting the Transition List (File --> Export --> Transition List). | Retention time. Doesn't need to be precise, but don't leave blank. | The adduct that is measured, e.g., [M-H] or [M+Cl]
Sheet name: "Blank_ref"
Contains following columns:
Sample.name | Blank.sample
The same sample name as assigned in sheet "Sequence". | The name of the blank sample that will be used for automatic blank subtraction durig R processing. Note that no blank should be assigned for Calibration samples. This allows to use several procedural blanks. For example, if the samples have been prepared on different days, you can assign each blank to samples that have been prepared on the given day.